## SCHED
WATERING SCHEDULE
SHIFT | ZONE | CONTROLLER - E | [6 empty] | CONTROLLER - F | [16 empty] | CONTROLLER - G | [8 empty] | CONTROLLER - H | [11 empty] | CONTROLLER - I | [5 empty] | CONTROLLER - J | [6 empty] | CONTROLLER - K | [7 empty] | SHIFT FLOW | RUNTIME | DEMAND
[68 empty] | (gpm) | (mins) | (gallons)
1 | MP Rotator - Sprinklers | E-R20 | [32 empty] | H-R01 | H-R03 | H-R04 | H-R05 | H-R06 | H-R07 | H-R08 | H-R09 | H-R10 | H-R11 | H-R12 | H-R13 | I-R14 | I-R15 | I-R16 | I-R17 | I-R18 | I-R19 | J-R02 | [15 empty] | 50
|  | 30.77 | [32 empty] | 13.07 | 24.39 | 23.42 | 11.31 | 11.93 | 10.96 | 16.11 | 15.45 | 5.79 | 17.87 | 8.1 | 16.2 | 27.12 | 2.68 | 8.23 | 5.28 | 6.29 | 28.04 | 8.19
2 | Trees - Bubblers | E-B109 | E-B122 | E-B60 | E-B74 |  |  |  | F-B103 | F-B108 | F-B116 | F-B119 | F-B89 | [12 empty] | G-B25 | G-B37 | G-B46 | G-B52 | G-B54 | G-B63 |  |  |  | H-R01: H-B131; H-R03: H-B14; I-R14: I-B138; I-R15: I-B142; I-R16: I-B145; J-R02: J-B123 | J-B133 | J-B136 | J-B137 |  |  |  | K-B134 | K-B149 | K-B155 | [6 empty] | 22
|  | 22.5 | 20 | 22 | 50 |  |  |  | 22 | 18 | 23.5 | 18 | 73.5 | [12 empty] | 23 | 71 | 72 | 70 | 72 | 18 |  |  |  | H-R01: 13; H-R03: 71; I-R14: 18; I-R15: 19; I-R16: 75; J-R02: 73 | 11 | 75 | 74 |  |  |  | 16 | 69 | 18
3 | Trees - Bubblers | E-B110 | E-B111 | E-B62 | E-B64 | E-B76 |  |  | F-B100 | F-B118 | F-B120 | F-B94 | F-B97 | [12 empty] | G-B35 | G-B53 | [7 empty] | H-R01: H-B08; H-R03: H-B09; H-R04: H-B24; H-R05: H-B26; I-R14: I-B143; I-R15: I-B31; J-R02: J-B127 | J-B128 | J-B129 | J-B130 | J-B165 |  |  | K-B144 | K-B160 | K-B162 | [6 empty] | 22
|  | 27.5 | 49.5 | 68 | 24 | 26 |  |  | 30 | 28 | 23.5 | 68 | 63 | [12 empty] | 63 | 50 | [7 empty] | H-R01: 63; H-R03: 30; H-R04: 29; H-R05: 67; I-R14: 66; I-R15: 64; J-R02: 64 | 30 | 30 | 24 | 30 |  |  | 25 | 26 | 62
4 | Trees - Bubblers | E-B59 | E-B84 | E-B85 | E-B86 |  |  |  | F-B102 | F-B104 | F-B106 | F-B113 | F-B117 | F-B95 | F-B96 | [10 empty] | G-B36 | G-B39 | G-B41 | G-B51 | G-B57 |  |  |  |  | H-R01: H-B06; H-R03: H-B15; H-R04: H-B20; I-R14: I-B27; I-R15: I-B30; J-R02: J-B124 | [6 empty] | K-B159 | K-B167 | [7 empty] | 22
|  | 62 | 33 | 60 | 31 |  |  |  | 32 | 31 | 34.5 | 35 | 34 | 61 | 61.5 | [10 empty] | 62 | 35 | 60 | 60 | 62 |  |  |  |  | H-R01: 32; H-R03: 61; H-R04: 34; I-R14: 62; I-R15: 47; J-R02: 33 | [6 empty] | 61 | 34
5 | Trees - Bubblers | E-B121 | E-B75 | [5 empty] | F-B114 | F-B92 | [15 empty] | G-B34 | G-B42 | G-B44 | G-B56 | G-B65 | G-B69 |  |  |  | H-R01: H-B02; H-R03: H-B16; H-R04: H-B19; H-R05: H-B58; I-R14: I-B139; I-R15: I-B29; J-R02: J-B126 | J-B132 | J-B164 |  |  |  |  | K-B153 | K-B154 | K-B156 | K-B157 | K-B163 |  |  |  |  | 22
|  | 58.5 | 59 | [5 empty] | 39.5 | 57.5 | [15 empty] | 38 | 35 | 50 | 59 | 38 | 39 |  |  |  | H-R01: 38; H-R03: 40; H-R04: 58; H-R05: 58; I-R14: 37; I-R15: 37; J-R02: 58 | 59 | 56 |  |  |  |  | 35 | 47 | 38 | 39 | 49
6 | Trees - Bubblers | E-B66 | E-B77 | E-B78 |  |  |  |  | F-B105 | F-B107 | F-B115 | [14 empty] | G-B21 | G-B40 | G-B47 | G-B48 | G-B67 |  |  |  |  | H-R01: H-B11; H-R03: H-B12; H-R04: H-B13; H-R05: H-B17; H-R06: H-B22; I-R14: I-B140; I-R15: I-B166; J-R02: J-B125 | [6 empty] | K-B147 | K-B152 | K-B158 | K-B161 | [5 empty] | 22
|  | 54 | 41 | 43 |  |  |  |  | 42 | 42 | 53 | [14 empty] | 56 | 53 | 53 | 43 | 53 |  |  |  |  | H-R01: 56; H-R03: 42; H-R04: 43; H-R05: 42; H-R06: 56; I-R14: 42; I-R15: 56; J-R02: 42 | [6 empty] | 54 | 55 | 54 | 55
7 | Trees - Bubblers | E-B112 | E-B61 | E-B71 | E-B81 | E-B82 | E-B83 | E-B87 | F-B101 | F-B90 | [15 empty] | G-B38 | G-B43 | G-B68 | G-B70 | G-B72 | G-B73 |  |  |  | H-R01: H-B03; H-R03: H-B04; H-R04: H-B05; H-R05: H-B10; H-R06: H-B18; H-R07: H-B07; I-R14: I-B146; I-R15: I-B148; I-R16: I-B33 | [15 empty] | 22
|  | 45 | 52 | 44 | 46 | 45 | 51 | 46 | 45.5 | 47 | [15 empty] | 44 | 44 | 50 | 51 | 46 | 51 |  |  |  | H-R01: 46; H-R03: 44; H-R04: 46; H-R05: 47; H-R06: 47; H-R07: 48; I-R14: 44; I-R15: 46; I-R16: 51
8 | Trees - Bubblers | E-B79 | E-B80 | [5 empty] | F-B88 | F-B91 | F-B93 | F-B98 | F-B99 | [12 empty] | G-B45 | G-B49 | G-B50 | G-B55 | [5 empty] | H-R01: H-B01; H-R03: H-B23; I-R14: I-B141; I-R15: I-B28; I-R16: I-B32; J-R02: J-B135 | [6 empty] | K-B150 | K-B151 | [7 empty] | 22
|  | 48 | 48 | [5 empty] | 52 | 59.5 | 48 | 52.5 | 49 | [12 empty] | 76 | 48 | 48 | 59 | [5 empty] | H-R01: 52; H-R03: 52; I-R14: 68; I-R15: 69; I-R16: 52; J-R02: 62 | [6 empty] | 59 | 47
9 | Shrubs & Groundcovers - Drip | E-HD181 | [23 empty] | G-HD144 | [8 empty] | H-HD01 | H-HD142 | H-HD146 | H-HD148 | H-HD165 | H-HD166 | H-HD260 | H-HD270 | H-HD279 |  |  |  | I-HD116 | I-HD53 |  |  |  |  | J-HD103 | J-HD75 | J-HD80 | J-HD87 |  |  |  | K-HD16 | K-HD35 | K-HD40 | [6 empty] | 32
|  | 38.25 | [23 empty] | 67.75 | [8 empty] | 74.25 | 72.75 | 76.75 | 84 | 72 | 71.75 | 73.25 | 83.5 | 72 |  |  |  | 72.25 | 74.25 |  |  |  |  | 39.75 | 67.75 | 74.25 | 69 |  |  |  | 12.5 | 69.75 | 14
10 | Shrubs & Groundcovers - Drip | E-HD186 | E-HD191 | [22 empty] | G-HD126 | G-HD193 | G-HD194 | [6 empty] | H-HD153 | H-HD157 | H-HD164 | H-HD171 | H-HD273 | H-HD274 | H-HD282 | H-HD284 | H-HD288 |  |  |  | I-HD106 | I-HD117 | I-HD131 | I-HD48 | I-HD56 | I-HD62 | J-HD02 | J-HD70 | J-HD86 | J-HD93 |  |  |  | K-HD10 | K-HD225 | K-HD38 | K-HD39 | [5 empty] | 32
|  | 20.25 | 22.75 | [22 empty] | 64.75 | 21.5 | 20.25 | [6 empty] | 23.5 | 63.75 | 19.5 | 62.75 | 67.5 | 64.5 | 65.5 | 66 | 65.75 |  |  |  | 66.75 | 20.75 | 17.5 | 62.75 | 67.25 | 66.25 | 64.25 | 24 | 24.25 | 65.25 |  |  |  | 42.25 | 24.25 | 21.25 | 63.25
11 | Shrubs & Groundcovers - Drip | E-HD184 | E-HD189 | E-HD200 | E-HD203 | [20 empty] | G-HD111 | G-HD114 | G-HD115 | G-HD132 | G-HD133 | G-HD140 | G-HD197 | G-HD198 | G-HD199 | H-R01: H-HD167; H-R03: H-HD175; H-R04: H-HD255; H-R05: H-HD256; H-R06: H-HD265; H-R07: H-HD61; I-R14: I-HD49; I-R15: I-HD52; I-R16: I-HD60; J-R02: J-HD104 | J-HD105 | J-HD79 | J-HD83 |  |  |  | K-HD09 | K-HD25 | K-HD34 | [6 empty] | 32
|  | 25 | 25.5 | 26.25 | 59.75 | [20 empty] | 24.75 | 58.25 | 26.5 | 26.75 | 57.25 | 26.75 | 27.25 | 26.75 | 25.25 | H-R01: 51.75; H-R03: 59.75; H-R04: 24.75; H-R05: 27.25; H-R06: 58.25; H-R07: 57; I-R14: 58.75; I-R15: 59.75; I-R16: 58; J-R02: 58.75 | 56.75 | 61 | 54.75 |  |  |  | 57.5 | 58.75 | 39.5
12 | Shrubs & Groundcovers - Drip | [24 empty] | G-HD112 | G-HD113 | G-HD137 | G-HD141 | G-HD143 | G-HD190 |  |  |  | H-HD155 | H-HD168 | H-HD169 | H-HD173 | H-HD258 | H-HD262 | H-HD267 | H-HD272 | H-HD280 | H-HD289 |  |  | I-HD47 | I-HD58 | I-HD63 | I-HD64 |  |  | J-HD73 | J-HD77 | J-HD78 | J-HD84 | J-HD92 |  |  | K-HD14 | K-HD21 | K-HD32 | K-HD36 | K-HD43 |  |  |  |  | 32
[26 empty] | 27.75 | 29.75 | 28.5 | 17.5 | 53.75 | 30 |  |  |  | 53.75 | 55.5 | 29.25 | 27.75 | 28.5 | 54 | 42 | 56 | 30 | 54.5 |  |  | 55 | 55.5 | 27.5 | 55.25 |  |  | 29.75 | 54.5 | 54.5 | 53.5 | 29 |  |  | 54.75 | 54 | 54.25 | 54.75 | 28.25
13 | Shrubs & Groundcovers - Drip | E-HD177 | E-HD183 | [22 empty] | G-HD121 | G-HD136 | G-HD138 | G-HD145 | G-HD201 |  |  |  |  | H-HD154 | H-HD172 | H-HD264 | H-HD269 | H-HD276 | H-HD277 | [6 empty] | I-HD130 | I-HD44 | I-HD51 | I-HD54 | I-HD57 |  | J-HD04 | J-HD101 | J-HD229 | J-HD71 | J-HD76 | J-HD94 | J-HD98 | K-HD22 | K-HD23 | K-HD28 | K-HD33 | [5 empty] | 32
|  | 52.25 | 32.25 | [22 empty] | 44.5 | 30.25 | 32.75 | 51.75 | 30.5 |  |  |  |  | 53 | 53.5 | 32.75 | 50.75 | 51.75 | 51 | [6 empty] | 53 | 32.75 | 31.75 | 52 | 51 |  | 31 | 51.5 | 52.25 | 32 | 56 | 50.75 | 51 | 51.25 | 30.25 | 53.5 | 32.25
14 | Shrubs & Groundcovers - Drip | E-HD179 | [23 empty] | G-HD110 | G-HD124 | G-HD125 | G-HD129 | G-HD147 |  |  |  |  | H-HD152 | H-HD156 | H-HD158 | H-HD161 | H-HD174 | H-HD176 | H-HD254 | H-HD257 | H-HD259 | H-HD268 | H-HD283 |  | I-HD109 | [5 empty] | J-HD05 | J-HD81 | J-HD89 | J-HD91 | J-HD95 | J-HD96 |  | K-HD12 | K-HD18 | K-HD19 | K-HD226 | K-HD30 | K-HD42 |  |  |  | 32
|  | 34.5 | [23 empty] | 33.5 | 33.25 | 48.25 | 50.75 | 33.5 |  |  |  |  | 47.75 | 50.25 | 35.5 | 35.75 | 48.75 | 34 | 50.25 | 33.5 | 49.75 | 33.25 | 50 |  | 49.75 | [5 empty] | 49 | 49.75 | 48.25 | 48.5 | 49.5 | 50.25 |  | 33.75 | 33.75 | 48.5 | 33 | 33.75 | 48
15 | Shrubs & Groundcovers - Drip | E-HD178 | E-HD182 | E-HD188 | [21 empty] | G-HD118 | G-HD119 | G-HD122 | G-HD192 | [5 empty] | H-HD149 | H-HD160 | H-HD170 | H-HD261 | H-HD271 | H-HD275 | H-HD278 | H-HD281 | H-HD286 |  |  |  | I-HD107 | I-HD108 | I-HD50 | I-HD68 |  |  | J-HD03 | J-HD06 | J-HD74 | J-HD82 | J-HD88 | J-HD97 |  | K-HD17 | K-HD26 | K-HD27 | K-HD37 | [5 empty] | 32
|  | 45.5 | 37.5 | 45.5 | [21 empty] | 36.75 | 37.5 | 45.25 | 36.5 | [5 empty] | 37.25 | 42 | 45.75 | 46 | 46.5 | 37.25 | 46 | 45.75 | 46.5 |  |  |  | 46.75 | 36.25 | 45.25 | 46.75 |  |  | 37.5 | 46 | 36.25 | 47.25 | 46.75 | 46.25 |  | 38 | 46 | 37.75 | 46
16 | Shrubs & Groundcovers - Drip | E-HD180 | E-HD205 | [22 empty] | G-HD120 | G-HD123 | G-HD127 | G-HD134 | G-HD135 | G-HD195 |  |  |  | H-R01: H-HD159; H-R03: H-HD162; H-R04: H-HD263; H-R05: H-HD285; H-R06: H-HD287; I-R14: I-HD45; I-R15: I-HD55; I-R16: I-HD65; I-R17: I-HD66; J-R02: J-HD102 | J-HD290 | J-HD72 | J-HD85 | J-HD90 | J-HD99 |  | K-HD08 | K-HD11 | K-HD227 | K-HD228 | K-HD230 | K-HD24 | K-HD31 | K-HD41 |  | 32
|  | 44 | 40.5 | [22 empty] | 39.25 | 23 | 38.25 | 38.25 | 42.5 | 43.75 |  |  |  | H-R01: 42.5; H-R03: 38.75; H-R04: 39; H-R05: 44.75; H-R06: 39; I-R14: 43; I-R15: 43.5; I-R16: 44.25; I-R17: 44; J-R02: 43.25 | 43.75 | 42.5 | 45 | 38.25 | 39.5 |  | 42.75 | 43 | 42.5 | 43.25 | 43.25 | 38.75 | 43 | 43.5
17 | Shrubs & Groundcovers - Drip | E-HD187 | E-HD196 | E-HD204 | [21 empty] | G-HD128 | G-HD139 | [7 empty] | H-R01: H-HD151; H-R03: H-HD266; I-R14: I-HD67; J-R02: J-HD07 | J-HD100 | J-HD69 |  |  |  |  | K-HD13 | K-HD15 | K-HD20 | K-HD29 | K-HD59 |  |  |  |  | 32
|  | 40.75 | 39.5 | 41 | [21 empty] | 40.75 | 41.5 | [7 empty] | H-R01: 41.25; H-R03: 41; I-R14: 41; J-R02: 40.75 | 41.5 | 62.5 |  |  |  |  | 40.5 | 40.5 | 17.25 | 40.5 | 26.25
18 | Shrubs & Groundcovers - Drip | [33 empty] | H-R01: H-HD163; I-R14: I-HD46 | [6 empty] | K-HD231 | [8 empty] | 32
[35 empty] | H-R01: 17; I-R14: 41.25 | [6 empty] | 17.25
19 | Shrubs & Groundcovers - Drip | E-LD211 | E-LD212 | E-LD214 | E-LD215 | E-LD216 |  |  | F-LD207 | F-LD208 | F-LD209 | F-LD210 | F-LD220 | F-LD232 | F-LD235 | F-LD237 | F-LD240 | F-LD242 | F-LD244 | F-LD246 | F-LD248 | F-LD249 | F-LD250 | F-LD251 | F-LD253 | [43 empty] | 32
|  | 23.5 | 18.5 | 41.75 | 45.25 | 34.25 |  |  | 37.5 | 69.75 | 72.75 | 34 | 45.75 | 27.25 | 70.25 | 70.75 | 69.5 | 73 | 75 | 72.75 | 40 | 40 | 45 | 77.75 | 71.25
20 | Shrubs & Groundcovers - Drip | E-LD213 | E-LD217 | E-LD218 |  |  |  |  | F-LD185 | F-LD206 | F-LD219 | F-LD221 | F-LD222 | F-LD223 | F-LD224 | F-LD233 | F-LD234 | F-LD236 | F-LD238 | F-LD239 | F-LD241 | F-LD243 | F-LD245 | F-LD247 | F-LD252 | [43 empty] | 32
|  | 57.75 | 52 | 48.25 |  |  |  |  | 43 | 60 | 52 | 59.75 | 67 | 60.75 | 57 | 53.5 | 66.5 | 48 | 56 | 68 | 68 | 63 | 60.25 | 65.75 | 48
21 | Shrubs & Groundcovers - Drip | [7 empty] | F-MD202 | [25 empty] | H-R01: H-MD150 | [15 empty] | 32
[9 empty] | 12.75 | [25 empty] | H-R01: 12.75
TOTAL RUNTIME (minutes) / TOTAL WATER DEMAND (gallons)
TOTAL RUNTIME (hours) / TOTAL WATER DEMAND (m³)
Notes:
1. | Shifts 1 is MP Rotator sprinklers for lawn areas and shall run for (50) minutes each shift each day.
2. | Shifts 2 to 8 are all bubblers for trees and shall run for (22) minutes each shift per day.
3. | Shifts 9 to 18 are all drip for high shrubs and groundcovers and shall run for (32) minutes each shift daily.
4. | Shifts 19 & 20 are all drip for low shrubs and groundcovers and shall run for (32) minutes each shift daily.
5. | Shifts 21 is drip for medium shrubs and groundcovers and shall run for (32) minutes each shift daily.
6. | The system will run for a total of (10) hours and (20) minutes each day.
7. | Total daily water demand (TWD) is approximately (2313.794) cubic meter.

## Sheet1
H-R01 | 13.07
J-R02 | 8.19
H-R03 | 24.39
H-R04 | 23.42
H-R05 | 11.31
H-R06 | 11.93
H-R07 | 10.96
H-R08 | 16.11
H-R09 | 15.45
H-R10 | 5.79
H-R11 | 17.87
H-R12 | 8.1
H-R13 | 16.2
I-R14 | 27.12
I-R15 | 2.68
I-R16 | 8.23
I-R17 | 5.28
I-R18 | 6.29
I-R19 | 28.04
E-R20 | 30.77