## SCHEDULE
Project Name: 5000 PERSON CAMP
Client: NEOM
Irrigation Network | [9 empty] | Rev.:00
Irrigation Time Schedule | [9 empty] | Date : June,2023
PERIOD | Controller NO. | VALVE NO./VALVE FLOW | [7 empty] | TOTAL GPM/CL |  | RUN TIME | TOTAL GPD
|  | St No.01 | St No.02 | St No.03 | St No.04 | St No.05 | St No.06 | St No.07 | St No.08
PERIOD NO.1 | Contr.A | VALVE NO./VALVE FLOW St No.01: A-S574; VALVE NO./VALVE FLOW St No.02: A-S595; VALVE NO./VALVE FLOW St No.03: A-S577 | 147.85 | 2496.56 | 20 | 49931.2
|  | 34.46 | 56.55 | 56.84
| Contr.B | VALVE NO./VALVE FLOW St No.01: B-S184; VALVE NO./VALVE FLOW St No.02: B-S208; VALVE NO./VALVE FLOW St No.03: B-S215 | 144.78
|  | 34.46 | 53.77 | 56.55
| Contr.C | VALVE NO./VALVE FLOW St No.01: C-S145; VALVE NO./VALVE FLOW St No.02: C-S169; VALVE NO./VALVE FLOW St No.03: C-S176 | 144.78
|  | 34.46 | 53.77 | 56.55
| Contr.D | VALVE NO./VALVE FLOW St No.01: D-S38; VALVE NO./VALVE FLOW St No.02: D-S45 | 98.22
|  | 41.15 | 57.07
| Contr.E | VALVE NO./VALVE FLOW St No.01: E-S22; VALVE NO./VALVE FLOW St No.02: E-S61 | 98.22
|  | 41.15 | 57.07
| Contr.F | VALVE NO./VALVE FLOW St No.01: F-S301; VALVE NO./VALVE FLOW St No.02: F-S305 | 91.3
|  | 34.46 | 56.84
| Contr.G | VALVE NO./VALVE FLOW St No.01: G-S262; VALVE NO./VALVE FLOW St No.02: G-S266 | 91.3
|  | 34.46 | 56.84
| Contr.H | VALVE NO./VALVE FLOW St No.01: H-S223; VALVE NO./VALVE FLOW St No.02: H-S227 | 91.3
|  | 34.46 | 56.84
| Contr.I | VALVE NO./VALVE FLOW St No.01: I-S70; VALVE NO./VALVE FLOW St No.02: I-S77 | 98.22
|  | 41.15 | 57.07
| Contr.K | VALVE NO./VALVE FLOW St No.01: K-S07; VALVE NO./VALVE FLOW St No.02: K-S599; VALVE NO./VALVE FLOW St No.03: K-S09 | 169.94
|  | 35.33 | 61.96 | 72.65
| Contr.L | VALVE NO./VALVE FLOW St No.01: L-S118; VALVE NO./VALVE FLOW St No.02: L-S127; VALVE NO./VALVE FLOW St No.03: L-S83 | 155.29
|  | 41.15 | 57.07 | 57.07
| Contr.M | VALVE NO./VALVE FLOW St No.01: M-S102; VALVE NO./VALVE FLOW St No.02: M-S97 | 98.22
|  | 41.15 | 57.07
| Contr.N | VALVE NO./VALVE FLOW St No.01: N-S134; VALVE NO./VALVE FLOW St No.02: N-S131; VALVE NO./VALVE FLOW St No.03: N-S141 | 155.29
|  | 41.15 | 57.07 | 57.07
| Contr.O | VALVE NO./VALVE FLOW St No.01: O-S340; VALVE NO./VALVE FLOW St No.02: O-S371; VALVE NO./VALVE FLOW St No.03: O-S344 | 147.85
|  | 34.46 | 56.55 | 56.84
| Contr.P | VALVE NO./VALVE FLOW St No.01: P-S379; VALVE NO./VALVE FLOW St No.02: P-S410; VALVE NO./VALVE FLOW St No.03: P-S383 | 147.85
|  | 34.46 | 56.55 | 56.84
| Contr.Q | VALVE NO./VALVE FLOW St No.01: Q-S418; VALVE NO./VALVE FLOW St No.02: Q-S419; VALVE NO./VALVE FLOW St No.03: Q-S449 | 125.47
|  | 34.46 | 34.46 | 56.55
| Contr.S | VALVE NO./VALVE FLOW St No.01: S-S458; VALVE NO./VALVE FLOW St No.02: S-S459; VALVE NO./VALVE FLOW St No.03: S-S485 | 105.18
|  | 34.46 | 34.46 | 36.26
| Contr.T | VALVE NO./VALVE FLOW St No.01: T-S496; VALVE NO./VALVE FLOW St No.02: T-S527 | 91.01
|  | 34.46 | 56.55
| Contr.U | VALVE NO./VALVE FLOW St No.01: U-S535; VALVE NO./VALVE FLOW St No.02: U-S566 | 91.01
|  | 34.46 | 56.55
| Contr.V | VALVE NO./VALVE FLOW St No.01: V-S702; VALVE NO./VALVE FLOW St No.02: V-S694 | 102.74
|  | 36.15 | 66.59
| Contr.W | VALVE NO./VALVE FLOW St No.01: W-S679; VALVE NO./VALVE FLOW St No.02: W-S639 | 100.74
|  | 32.94 | 67.8
PERIOD NO.2 | Contr.A | VALVE NO./VALVE FLOW St No.01: A-S591; VALVE NO./VALVE FLOW St No.02: A-S67 | 90.81 | 2486.51 | 20 | 49730.2
|  | 33.74 | 57.07
| Contr.B | VALVE NO./VALVE FLOW St No.01: B-S205; VALVE NO./VALVE FLOW St No.02: B-S188; VALVE NO./VALVE FLOW St No.03: B-S213 | 150.02
|  | 33.74 | 56.84 | 59.44
| Contr.C | VALVE NO./VALVE FLOW St No.01: C-S166; VALVE NO./VALVE FLOW St No.02: C-S149; VALVE NO./VALVE FLOW St No.03: C-S174 | 150.02
|  | 33.74 | 56.84 | 59.44
| Contr.D | VALVE NO./VALVE FLOW St No.01: D-S36; VALVE NO./VALVE FLOW St No.02: D-S47 | 98.22
|  | 41.15 | 57.07
| Contr.E | VALVE NO./VALVE FLOW St No.01: E-S20; VALVE NO./VALVE FLOW St No.02: E-S63 | 98.22
|  | 41.15 | 57.07
| Contr.F | VALVE NO./VALVE FLOW St No.01: F-S322; VALVE NO./VALVE FLOW St No.02: F-S330 | 93.18
|  | 33.74 | 59.44
| Contr.G | VALVE NO./VALVE FLOW St No.01: G-S283; VALVE NO./VALVE FLOW St No.02: G-S291 | 93.18
|  | 33.74 | 59.44
| Contr.H | VALVE NO./VALVE FLOW St No.01: H-S244; VALVE NO./VALVE FLOW St No.02: H-S252; VALVE NO./VALVE FLOW St No.03: H-S230 | 140.17
|  | 33.74 | 59.44 | 46.99
| Contr.I | VALVE NO./VALVE FLOW St No.01: I-S68; VALVE NO./VALVE FLOW St No.02: I-S79 | 98.22
|  | 41.15 | 57.07
| Contr.K | VALVE NO./VALVE FLOW St No.01: K-S02; VALVE NO./VALVE FLOW St No.02: K-S12 | 109.8
|  | 35.33 | 74.47
| Contr.L | VALVE NO./VALVE FLOW St No.01: L-S95 | 57.07
57.07
| Contr.M | VALVE NO./VALVE FLOW St No.01: M-S100; VALVE NO./VALVE FLOW St No.02: M-S99 | 98.22
|  | 41.15 | 57.07
| Contr.N | VALVE NO./VALVE FLOW St No.01: N-S132; VALVE NO./VALVE FLOW St No.02: N-S143 | 98.22
|  | 41.15 | 57.07
| Contr.O | VALVE NO./VALVE FLOW St No.01: O-S361; VALVE NO./VALVE FLOW St No.02: O-S369 | 93.18
|  | 33.74 | 59.44
| Contr.P | VALVE NO./VALVE FLOW St No.01: P-S400; VALVE NO./VALVE FLOW St No.02: P-S408 | 93.18
|  | 33.74 | 59.44
| Contr.Q | VALVE NO./VALVE FLOW St No.01: Q-S439; VALVE NO./VALVE FLOW St No.02: Q-S422; VALVE NO./VALVE FLOW St No.03: Q-S447 | 150.02
|  | 33.74 | 56.84 | 59.44
| Contr.S | VALVE NO./VALVE FLOW St No.01: S-S478; VALVE NO./VALVE FLOW St No.02: S-S457; VALVE NO./VALVE FLOW St No.03: S-S461; VALVE NO./VALVE FLOW St No.04: S-S486 | 184.48
|  | 33.74 | 34.46 | 56.84 | 59.44
| Contr.T | VALVE NO./VALVE FLOW St No.01: T-S517; VALVE NO./VALVE FLOW St No.02: T-S500; VALVE NO./VALVE FLOW St No.03: T-S525 | 150.02
|  | 33.74 | 56.84 | 59.44
| Contr.U | VALVE NO./VALVE FLOW St No.01: U-S556; VALVE NO./VALVE FLOW St No.02: U-S539; VALVE NO./VALVE FLOW St No.03: U-S564 | 150.02
|  | 33.74 | 56.84 | 59.44
| Contr.V | VALVE NO./VALVE FLOW St No.01: V-S704; VALVE NO./VALVE FLOW St No.02: V-S630; VALVE NO./VALVE FLOW St No.03: V-S674; VALVE NO./VALVE FLOW St No.04: V-S699 | 189.52
|  | 15.71 | 35.23 | 68.38 | 70.2
| Contr.W | VALVE NO./VALVE FLOW St No.01: W-S640; VALVE NO./VALVE FLOW St No.02: W-S680 | 100.74
|  | 32.94 | 67.8
PERIOD NO.3 | Contr.A | VALVE NO./VALVE FLOW St No.01: A-S578 | 36.26 | 2495.17 | 20 | 49903.4
36.26
| Contr.B | VALVE NO./VALVE FLOW St No.01: B-S204; VALVE NO./VALVE FLOW St No.02: B-S206; VALVE NO./VALVE FLOW St No.03: B-S189; VALVE NO./VALVE FLOW St No.04: B-S212 | 141.44
|  | 34.46 | 34.46 | 36.26 | 36.26
| Contr.C | VALVE NO./VALVE FLOW St No.01: C-S167; VALVE NO./VALVE FLOW St No.02: C-S168; VALVE NO./VALVE FLOW St No.03: C-S173 | 105.18
|  | 34.46 | 34.46 | 36.26
| Contr.D | [8 empty] | 0
| Contr.E | VALVE NO./VALVE FLOW St No.01: E-S23; VALVE NO./VALVE FLOW St No.02: E-S27; VALVE NO./VALVE FLOW St No.03: E-S57 | 138.41
|  | 45.72 | 45.72 | 46.97
| Contr.F | VALVE NO./VALVE FLOW St No.01: F-S333; VALVE NO./VALVE FLOW St No.02: F-S334; VALVE NO./VALVE FLOW St No.03: F-S310; VALVE NO./VALVE FLOW St No.04: F-S328 | 162.9
|  | 34.46 | 34.46 | 46.99 | 46.99
| Contr.G | VALVE NO./VALVE FLOW St No.01: G-S285; VALVE NO./VALVE FLOW St No.02: G-S270; VALVE NO./VALVE FLOW St No.03: G-S271; VALVE NO./VALVE FLOW St No.04: G-S289 | 175.43
|  | 34.46 | 46.99 | 46.99 | 46.99
| Contr.H | VALVE NO./VALVE FLOW St No.01: H-S256; VALVE NO./VALVE FLOW St No.02: H-S257; VALVE NO./VALVE FLOW St No.03: H-S250; VALVE NO./VALVE FLOW St No.04: H-S229 | 164.12
|  | 34.46 | 34.46 | 46.99 | 48.21
| Contr.I | [8 empty] | 0
| Contr.K | VALVE NO./VALVE FLOW St No.01: K-S13; VALVE NO./VALVE FLOW St No.02: K-S607; VALVE NO./VALVE FLOW St No.03: K-S606 | 144.09
|  | 45.66 | 48.09 | 50.34
| Contr.L | VALVE NO./VALVE FLOW St No.01: L-S94; VALVE NO./VALVE FLOW St No.02: L-S117 | 88.12
|  | 41.15 | 46.97
| Contr.M | [8 empty] | 0
| Contr.N | [8 empty] | 0
| Contr.O | VALVE NO./VALVE FLOW St No.01: O-S372; VALVE NO./VALVE FLOW St No.02: O-S343; VALVE NO./VALVE FLOW St No.03: O-S370; VALVE NO./VALVE FLOW St No.04: O-S347 | 162.15
|  | 34.46 | 40.35 | 40.35 | 46.99
| Contr.P | VALVE NO./VALVE FLOW St No.01: P-S412; VALVE NO./VALVE FLOW St No.02: P-S413; VALVE NO./VALVE FLOW St No.03: P-S387; VALVE NO./VALVE FLOW St No.04: P-S388 | 162.9
|  | 34.46 | 34.46 | 46.99 | 46.99
| Contr.Q | VALVE NO./VALVE FLOW St No.01: Q-S451; VALVE NO./VALVE FLOW St No.02: Q-S425; VALVE NO./VALVE FLOW St No.03: Q-S426 | 128.44
|  | 34.46 | 46.99 | 46.99
| Contr.S | VALVE NO./VALVE FLOW St No.01: S-S492; VALVE NO./VALVE FLOW St No.02: S-S466; VALVE NO./VALVE FLOW St No.03: S-S484 | 128.44
|  | 34.46 | 46.99 | 46.99
| Contr.T | VALVE NO./VALVE FLOW St No.01: T-S531; VALVE NO./VALVE FLOW St No.02: T-S503; VALVE NO./VALVE FLOW St No.03: T-S504; VALVE NO./VALVE FLOW St No.04: T-S505 | 175.43
|  | 34.46 | 46.99 | 46.99 | 46.99
| Contr.U | U-S567 | U-S568 | U-S569 | U-S565 | U-S543 |  |  |  | 190.72
|  | 34.46 | 34.46 | 34.46 | 40.35 | 46.99
| Contr.V | V-S675 | V-S621 | V-S625 | V-S627 | V-S613 | V-S697 | V-S695 |  | 391.14
|  | 49.57 | 51.1 | 55.13 | 55.7 | 59.65 | 59.65 | 60.34
| Contr.W | [8 empty] | 0
PERIOD NO.4 | Contr.A | VALVE NO./VALVE FLOW St No.01: A-S598 | 34.46 | 2497.72 | 20 | 49954.4
34.46
| Contr.B | VALVE NO./VALVE FLOW St No.01: B-S217; VALVE NO./VALVE FLOW St No.02: B-S218; VALVE NO./VALVE FLOW St No.03: B-S219 | 103.38
|  | 34.46 | 34.46 | 34.46
| Contr.C | VALVE NO./VALVE FLOW St No.01: C-S180; VALVE NO./VALVE FLOW St No.02: C-S181; VALVE NO./VALVE FLOW St No.03: C-S182; VALVE NO./VALVE FLOW St No.04: C-S150 | 139.64
|  | 34.46 | 34.46 | 34.46 | 36.26
| Contr.D | VALVE NO./VALVE FLOW St No.01: D-S37 | 46.97
46.97
| Contr.E | VALVE NO./VALVE FLOW St No.01: E-S59; VALVE NO./VALVE FLOW St No.02: E-S21 | 92.69
|  | 45.72 | 46.97
| Contr.F | F-S338 | F-S306 | F-S329 | F-S304 | F-S331 |  |  |  | 187.68
|  | 34.46 | 36.26 | 36.26 | 40.35 | 40.35
| Contr.G | G-S298 | G-S299 | G-S267 | G-S290 | G-S265 |  |  |  | 181.79
|  | 34.46 | 34.46 | 36.26 | 36.26 | 40.35
| Contr.H | VALVE NO./VALVE FLOW St No.01: H-S228; VALVE NO./VALVE FLOW St No.02: H-S251; VALVE NO./VALVE FLOW St No.03: H-S226 | 112.87
|  | 36.26 | 36.26 | 40.35
| Contr.I | VALVE NO./VALVE FLOW St No.01: I-S71 | 45.72
45.72
| Contr.K | VALVE NO./VALVE FLOW St No.01: K-S85; VALVE NO./VALVE FLOW St No.02: K-S89; VALVE NO./VALVE FLOW St No.03: K-S605 | 141.28
|  | 46.97 | 46.97 | 47.34
| Contr.L | VALVE NO./VALVE FLOW St No.01: L-S123; VALVE NO./VALVE FLOW St No.02: L-S87; VALVE NO./VALVE FLOW St No.03: L-S116 | 132.59
|  | 45.72 | 45.72 | 41.15
| Contr.M | VALVE NO./VALVE FLOW St No.01: M-S103 | 45.72
45.72
| Contr.N | VALVE NO./VALVE FLOW St No.01: N-S139 | 45.72
45.72
| Contr.O | VALVE NO./VALVE FLOW St No.01: O-S375; VALVE NO./VALVE FLOW St No.02: O-S376; VALVE NO./VALVE FLOW St No.03: O-S377 | 103.38
|  | 34.46 | 34.46 | 34.46
| Contr.P | P-S414 | P-S415 | P-S416 | P-S384 | P-S407 | P-S382 |  |  | 216.25
|  | 34.46 | 34.46 | 34.46 | 36.26 | 36.26 | 40.35
| Contr.Q | VALVE NO./VALVE FLOW St No.01: Q-S454; VALVE NO./VALVE FLOW St No.02: Q-S455; VALVE NO./VALVE FLOW St No.03: Q-S423; VALVE NO./VALVE FLOW St No.04: Q-S446 | 141.44
|  | 34.46 | 34.46 | 36.26 | 36.26
| Contr.S | VALVE NO./VALVE FLOW St No.01: S-S462; VALVE NO./VALVE FLOW St No.02: S-S460; VALVE NO./VALVE FLOW St No.03: S-S487 | 116.96
|  | 36.26 | 40.35 | 40.35
| Contr.T | VALVE NO./VALVE FLOW St No.01: T-S501; VALVE NO./VALVE FLOW St No.02: T-S524; VALVE NO./VALVE FLOW St No.03: T-S499; VALVE NO./VALVE FLOW St No.04: T-S506 | 161.08
|  | 36.26 | 36.26 | 40.35 | 48.21
| Contr.U | VALVE NO./VALVE FLOW St No.01: U-S540; VALVE NO./VALVE FLOW St No.02: U-S563; VALVE NO./VALVE FLOW St No.03: U-S538; VALVE NO./VALVE FLOW St No.04: U-S542 | 159.86
|  | 36.26 | 36.26 | 40.35 | 46.99
| Contr.V | VALVE NO./VALVE FLOW St No.01: V-S673; VALVE NO./VALVE FLOW St No.02: V-S617; VALVE NO./VALVE FLOW St No.03: V-S628 | 176.84
|  | 58.27 | 59.19 | 59.38
| Contr.W | VALVE NO./VALVE FLOW St No.01: W-S633; VALVE NO./VALVE FLOW St No.02: W-S687 | 111.4
|  | 55.7 | 55.7
PERIOD NO.5 | Contr.A | VALVE NO./VALVE FLOW St No.01: A-S590; VALVE NO./VALVE FLOW St No.02: A-S107 | 80.18 | 2494.78 | 20 | 49895.6
|  | 34.46 | 45.72
| Contr.B | VALVE NO./VALVE FLOW St No.01: B-S198; VALVE NO./VALVE FLOW St No.02: B-S201; VALVE NO./VALVE FLOW St No.03: B-S214 | 109.27
|  | 34.46 | 34.46 | 40.35
| Contr.C | VALVE NO./VALVE FLOW St No.01: C-S162; VALVE NO./VALVE FLOW St No.02: C-S163; VALVE NO./VALVE FLOW St No.03: C-S175; VALVE NO./VALVE FLOW St No.04: C-S152 | 156.26
|  | 34.46 | 34.46 | 40.35 | 46.99
| Contr.D | VALVE NO./VALVE FLOW St No.01: D-S39 | 45.72
45.72
| Contr.E | VALVE NO./VALVE FLOW St No.01: E-S58; VALVE NO./VALVE FLOW St No.02: E-S32 | 92.44
|  | 41.15 | 51.29
| Contr.F | VALVE NO./VALVE FLOW St No.01: F-S321; VALVE NO./VALVE FLOW St No.02: F-S311 | 82.67
|  | 34.46 | 48.21
| Contr.G | VALVE NO./VALVE FLOW St No.01: G-S281; VALVE NO./VALVE FLOW St No.02: G-S272 | 82.67
|  | 34.46 | 48.21
| Contr.H | VALVE NO./VALVE FLOW St No.01: H-S242; VALVE NO./VALVE FLOW St No.02: H-S243; VALVE NO./VALVE FLOW St No.03: H-S245; VALVE NO./VALVE FLOW St No.04: H-S253 | 143.73
|  | 34.46 | 34.46 | 34.46 | 40.35
| Contr.I | VALVE NO./VALVE FLOW St No.01: I-S76 | 41.15
41.15
| Contr.K | VALVE NO./VALVE FLOW St No.01: K-S08; VALVE NO./VALVE FLOW St No.02: K-S602 | 95.45
|  | 42.9 | 52.55
| Contr.L | VALVE NO./VALVE FLOW St No.01: L-S88; VALVE NO./VALVE FLOW St No.02: L-S114 | 92.44
|  | 41.15 | 51.29
| Contr.M | VALVE NO./VALVE FLOW St No.01: M-S105 | 46.97
46.97
| Contr.N | VALVE NO./VALVE FLOW St No.01: N-S137 | 46.97
46.97
| Contr.O | VALVE NO./VALVE FLOW St No.01: O-S359; VALVE NO./VALVE FLOW St No.02: O-S360; VALVE NO./VALVE FLOW St No.03: O-S367; VALVE NO./VALVE FLOW St No.04: O-S346 | 164.12
|  | 34.46 | 34.46 | 46.99 | 48.21
| Contr.P | VALVE NO./VALVE FLOW St No.01: P-S399; VALVE NO./VALVE FLOW St No.02: P-S401; VALVE NO./VALVE FLOW St No.03: P-S389; VALVE NO./VALVE FLOW St No.04: P-S404 | 165.34
|  | 34.46 | 34.46 | 48.21 | 48.21
| Contr.Q | VALVE NO./VALVE FLOW St No.01: Q-S438; VALVE NO./VALVE FLOW St No.02: Q-S440; VALVE NO./VALVE FLOW St No.03: Q-S443; VALVE NO./VALVE FLOW St No.04: Q-S444 | 165.34
|  | 34.46 | 34.46 | 48.21 | 48.21
| Contr.S | VALVE NO./VALVE FLOW St No.01: S-S480; VALVE NO./VALVE FLOW St No.02: S-S489; VALVE NO./VALVE FLOW St No.03: S-S482; VALVE NO./VALVE FLOW St No.04: S-S483 | 165.34
|  | 34.46 | 34.46 | 48.21 | 48.21
| Contr.T | VALVE NO./VALVE FLOW St No.01: T-S519; VALVE NO./VALVE FLOW St No.02: T-S528; VALVE NO./VALVE FLOW St No.03: T-S521 | 117.13
|  | 34.46 | 34.46 | 48.21
| Contr.U | VALVE NO./VALVE FLOW St No.01: U-S554; VALVE NO./VALVE FLOW St No.02: U-S555; VALVE NO./VALVE FLOW St No.03: U-S541; VALVE NO./VALVE FLOW St No.04: U-S545 | 165.34
|  | 34.46 | 34.46 | 48.21 | 48.21
| Contr.V | VALVE NO./VALVE FLOW St No.01: V-S658; VALVE NO./VALVE FLOW St No.02: V-S672; VALVE NO./VALVE FLOW St No.03: V-S615; VALVE NO./VALVE FLOW St No.04: V-S667 | 222.67
|  | 47.7 | 48.37 | 62.94 | 63.66
| Contr.W | VALVE NO./VALVE FLOW St No.01: W-S681; VALVE NO./VALVE FLOW St No.02: W-S688; VALVE NO./VALVE FLOW St No.03: W-S637; VALVE NO./VALVE FLOW St No.04: W-S653 | 213.58
|  | 45.2 | 59.38 | 59.65 | 49.35
PERIOD NO.6 | Contr.A | VALVE NO./VALVE FLOW St No.01: A-S596 | 34.46 | 2499.17 | 20 | 49983.4
34.46
| Contr.B | VALVE NO./VALVE FLOW St No.01: B-S202; VALVE NO./VALVE FLOW St No.02: B-S203; VALVE NO./VALVE FLOW St No.03: B-S187 | 109.27
|  | 34.46 | 34.46 | 40.35
| Contr.C | VALVE NO./VALVE FLOW St No.01: C-S164; VALVE NO./VALVE FLOW St No.02: C-S165; VALVE NO./VALVE FLOW St No.03: C-S148 | 109.27
|  | 34.46 | 34.46 | 40.35
| Contr.D | VALVE NO./VALVE FLOW St No.01: D-S41 | 46.97
46.97
| Contr.E | VALVE NO./VALVE FLOW St No.01: E-S60; VALVE NO./VALVE FLOW St No.02: E-S62; VALVE NO./VALVE FLOW St No.03: E-S18 | 133.59
|  | 41.15 | 41.15 | 51.29
| Contr.F | VALVE NO./VALVE FLOW St No.01: F-S323; VALVE NO./VALVE FLOW St No.02: F-S324; VALVE NO./VALVE FLOW St No.03: F-S307 | 117.13
|  | 34.46 | 34.46 | 48.21
| Contr.G | VALVE NO./VALVE FLOW St No.01: G-S282; VALVE NO./VALVE FLOW St No.02: G-S284; VALVE NO./VALVE FLOW St No.03: G-S268 | 117.13
|  | 34.46 | 34.46 | 48.21
| Contr.H | VALVE NO./VALVE FLOW St No.01: H-S246; VALVE NO./VALVE FLOW St No.02: H-S255; VALVE NO./VALVE FLOW St No.03: H-S233 | 117.13
|  | 34.46 | 34.46 | 48.21
| Contr.I | VALVE NO./VALVE FLOW St No.01: I-S78 | 41.15
41.15
| Contr.K | VALVE NO./VALVE FLOW St No.01: K-S600; VALVE NO./VALVE FLOW St No.02: K-S603; VALVE NO./VALVE FLOW St No.03: K-S609 | 140.04
|  | 43.8 | 44.4 | 51.84
| Contr.L | VALVE NO./VALVE FLOW St No.01: L-S90; VALVE NO./VALVE FLOW St No.02: L-S92; VALVE NO./VALVE FLOW St No.03: L-S121 | 129.27
|  | 41.15 | 41.15 | 46.97
| Contr.O | VALVE NO./VALVE FLOW St No.01: O-S362; VALVE NO./VALVE FLOW St No.02: O-S363; VALVE NO./VALVE FLOW St No.03: O-S348; VALVE NO./VALVE FLOW St No.04: O-S349 | 162.9
|  | 34.46 | 34.46 | 46.99 | 46.99
| Contr.P | VALVE NO./VALVE FLOW St No.01: P-S402; VALVE NO./VALVE FLOW St No.02: P-S411; VALVE NO./VALVE FLOW St No.03: P-S406; VALVE NO./VALVE FLOW St No.04: P-S385 | 164.12
|  | 34.46 | 34.46 | 46.99 | 48.21
| Contr.Q | VALVE NO./VALVE FLOW St No.01: Q-S441; VALVE NO./VALVE FLOW St No.02: Q-S450; VALVE NO./VALVE FLOW St No.03: Q-S424; VALVE NO./VALVE FLOW St No.04: Q-S428 | 165.34
|  | 34.46 | 34.46 | 48.21 | 48.21
| Contr.S | VALVE NO./VALVE FLOW St No.01: S-S490; VALVE NO./VALVE FLOW St No.02: S-S491; VALVE NO./VALVE FLOW St No.03: S-S463; VALVE NO./VALVE FLOW St No.04: S-S467 | 165.34
|  | 34.46 | 34.46 | 48.21 | 48.21
| Contr.T | VALVE NO./VALVE FLOW St No.01: T-S529; VALVE NO./VALVE FLOW St No.02: T-S530; VALVE NO./VALVE FLOW St No.03: T-S523; VALVE NO./VALVE FLOW St No.04: T-S502 | 164.12
|  | 34.46 | 34.46 | 46.99 | 48.21
| Contr.U | VALVE NO./VALVE FLOW St No.01: U-S557; VALVE NO./VALVE FLOW St No.02: U-S558; VALVE NO./VALVE FLOW St No.03: U-S544; VALVE NO./VALVE FLOW St No.04: U-S562 | 162.9
|  | 34.46 | 34.46 | 46.99 | 46.99
| Contr.V | VALVE NO./VALVE FLOW St No.01: V-S662; VALVE NO./VALVE FLOW St No.02: V-S654; VALVE NO./VALVE FLOW St No.03: V-S618; VALVE NO./VALVE FLOW St No.04: V-S666 | 217.82
|  | 48.42 | 49.35 | 58.28 | 61.77
| Contr.W | VALVE NO./VALVE FLOW St No.01: W-S660; VALVE NO./VALVE FLOW St No.02: W-S657; VALVE NO./VALVE FLOW St No.03: W-S661; VALVE NO./VALVE FLOW St No.04: W-S634 | 201.22
|  | 45.72 | 47.7 | 48.42 | 59.38
PERIOD NO.7 | Contr.A | VALVE NO./VALVE FLOW St No.01: A-S589; VALVE NO./VALVE FLOW St No.02: A-S576 | 74.81 | 2496.83 | 20 | 49936.6
|  | 34.46 | 40.35
| Contr.B | VALVE NO./VALVE FLOW St No.01: B-S197; VALVE NO./VALVE FLOW St No.02: B-S191; VALVE NO./VALVE FLOW St No.03: B-S192 | 128.44
|  | 34.46 | 46.99 | 46.99
| Contr.C | VALVE NO./VALVE FLOW St No.01: C-S159; VALVE NO./VALVE FLOW St No.02: C-S153; VALVE NO./VALVE FLOW St No.03: C-S154 | 128.44
|  | 34.46 | 46.99 | 46.99
| Contr.D | VALVE NO./VALVE FLOW St No.01: D-S34 | 51.29
51.29
| Contr.E | VALVE NO./VALVE FLOW St No.01: E-S56; VALVE NO./VALVE FLOW St No.02: E-S50; VALVE NO./VALVE FLOW St No.03: E-S17 | 149.51
|  | 41.15 | 51.29 | 57.07
| Contr.F | VALVE NO./VALVE FLOW St No.01: F-S320; VALVE NO./VALVE FLOW St No.02: F-S326; VALVE NO./VALVE FLOW St No.03: F-S327 | 130.88
|  | 34.46 | 48.21 | 48.21
| Contr.G | VALVE NO./VALVE FLOW St No.01: G-S280; VALVE NO./VALVE FLOW St No.02: G-S287; VALVE NO./VALVE FLOW St No.03: G-S288 | 130.88
|  | 34.46 | 48.21 | 48.21
| Contr.H | VALVE NO./VALVE FLOW St No.01: H-S241; VALVE NO./VALVE FLOW St No.02: H-S248; VALVE NO./VALVE FLOW St No.03: H-S249 | 130.88
|  | 34.46 | 48.21 | 48.21
| Contr.I | VALVE NO./VALVE FLOW St No.01: I-S69 | 46.97
46.97
| Contr.K | VALVE NO./VALVE FLOW St No.01: K-S15; VALVE NO./VALVE FLOW St No.02: K-S81; VALVE NO./VALVE FLOW St No.03: K-S93 | 156.94
|  | 42.8 | 57.07 | 57.07
| Contr.L | VALVE NO./VALVE FLOW St No.01: L-S86; VALVE NO./VALVE FLOW St No.02: L-S128; VALVE NO./VALVE FLOW St No.03: L-S82 | 143.73
|  | 41.15 | 51.29 | 51.29
| Contr.M | VALVE NO./VALVE FLOW St No.01: M-S112 | 51.29
51.29
| Contr.N | VALVE NO./VALVE FLOW St No.01: N-S130 | 51.29
51.29
| Contr.O | VALVE NO./VALVE FLOW St No.01: O-S358; VALVE NO./VALVE FLOW St No.02: O-S350; VALVE NO./VALVE FLOW St No.03: O-S365 | 130.88
|  | 34.46 | 48.21 | 48.21
| Contr.P | VALVE NO./VALVE FLOW St No.01: P-S398; VALVE NO./VALVE FLOW St No.02: P-S405; VALVE NO./VALVE FLOW St No.03: P-S394 | 136.32
|  | 34.46 | 48.21 | 53.65
| Contr.Q | VALVE NO./VALVE FLOW St No.01: Q-S436; VALVE NO./VALVE FLOW St No.02: Q-S437; VALVE NO./VALVE FLOW St No.03: Q-S433 | 122.57
|  | 34.46 | 34.46 | 53.65
| Contr.S | VALVE NO./VALVE FLOW St No.01: S-S479; VALVE NO./VALVE FLOW St No.02: S-S472; VALVE NO./VALVE FLOW St No.03: S-S495 | 141.76
|  | 34.46 | 53.65 | 53.65
| Contr.T | VALVE NO./VALVE FLOW St No.01: T-S518; VALVE NO./VALVE FLOW St No.02: T-S522; VALVE NO./VALVE FLOW St No.03: T-S511 | 136.32
|  | 34.46 | 48.21 | 53.65
| Contr.U | VALVE NO./VALVE FLOW St No.01: U-S553; VALVE NO./VALVE FLOW St No.02: U-S560; VALVE NO./VALVE FLOW St No.03: U-S561 | 130.88
|  | 34.46 | 48.21 | 48.21
| Contr.V | VALVE NO./VALVE FLOW St No.01: V-S659; VALVE NO./VALVE FLOW St No.02: V-S670; VALVE NO./VALVE FLOW St No.03: V-S622 | 173.66
|  | 45.72 | 63.66 | 64.28
| Contr.W | VALVE NO./VALVE FLOW St No.01: W-S689; VALVE NO./VALVE FLOW St No.02: W-S638; VALVE NO./VALVE FLOW St No.03: W-S682 | 149.09
|  | 44.24 | 45.2 | 59.65
PERIOD NO.8 | Contr.A | VALVE NO./VALVE FLOW St No.01: A-S581 | 46.99 | 2491.02 | 20 | 49820.4
46.99
| Contr.B | VALVE NO./VALVE FLOW St No.01: B-S196; VALVE NO./VALVE FLOW St No.02: B-S207 | 68.92
|  | 34.46 | 34.46
| Contr.C | VALVE NO./VALVE FLOW St No.01: C-S179; VALVE NO./VALVE FLOW St No.02: C-S172; VALVE NO./VALVE FLOW St No.03: C-S151 | 129.66
|  | 34.46 | 46.99 | 48.21
| Contr.D | VALVE NO./VALVE FLOW St No.01: D-S48 | 51.29
51.29
| Contr.E | VALVE NO./VALVE FLOW St No.01: E-S54; VALVE NO./VALVE FLOW St No.02: E-S53; VALVE NO./VALVE FLOW St No.03: E-S19 | 145.19
|  | 41.15 | 46.97 | 57.07
| Contr.F | F-S337 | F-S308 | F-S309 | F-S316 | F-S339 |  |  |  | 235.74
|  | 34.46 | 46.99 | 46.99 | 53.65 | 53.65
| Contr.G | G-S296 | G-S297 | G-S292 | G-S269 | G-S277 |  |  |  | 209.91
|  | 34.46 | 34.46 | 40.35 | 46.99 | 53.65
| Contr.H | VALVE NO./VALVE FLOW St No.01: H-S260; VALVE NO./VALVE FLOW St No.02: H-S231; VALVE NO./VALVE FLOW St No.03: H-S232; VALVE NO./VALVE FLOW St No.04: H-S238 | 182.09
|  | 34.46 | 46.99 | 46.99 | 53.65
| Contr.I | VALVE NO./VALVE FLOW St No.01: I-S73 | 46.97
46.97
| Contr.K | VALVE NO./VALVE FLOW St No.01: K-S14; VALVE NO./VALVE FLOW St No.02: K-S610; VALVE NO./VALVE FLOW St No.03: K-S604 | 149.06
|  | 42.8 | 48.01 | 58.25
| Contr.L | VALVE NO./VALVE FLOW St No.01: L-S126; VALVE NO./VALVE FLOW St No.02: L-S91; VALVE NO./VALVE FLOW St No.03: L-S96 | 138.16
|  | 41.15 | 45.72 | 51.29
| Contr.M | VALVE NO./VALVE FLOW St No.01: M-S98 | 51.29
51.29
| Contr.N | VALVE NO./VALVE FLOW St No.01: N-S133 | 46.97
46.97
| Contr.O | VALVE NO./VALVE FLOW St No.01: O-S354; VALVE NO./VALVE FLOW St No.02: O-S368; VALVE NO./VALVE FLOW St No.03: O-S366 | 118.93
|  | 34.46 | 36.26 | 48.21
| Contr.P | VALVE NO./VALVE FLOW St No.01: P-S393; VALVE NO./VALVE FLOW St No.02: P-S409; VALVE NO./VALVE FLOW St No.03: P-S386 | 121.8
|  | 34.46 | 40.35 | 46.99
| Contr.Q | VALVE NO./VALVE FLOW St No.01: Q-S431; VALVE NO./VALVE FLOW St No.02: Q-S421; VALVE NO./VALVE FLOW St No.03: Q-S448 | 115.16
|  | 34.46 | 40.35 | 40.35
| Contr.S | VALVE NO./VALVE FLOW St No.01: S-S475; VALVE NO./VALVE FLOW St No.02: S-S476; VALVE NO./VALVE FLOW St No.03: S-S464; VALVE NO./VALVE FLOW St No.04: S-S465 | 162.9
|  | 34.46 | 34.46 | 46.99 | 46.99
| Contr.T | VALVE NO./VALVE FLOW St No.01: T-S514; VALVE NO./VALVE FLOW St No.02: T-S515; VALVE NO./VALVE FLOW St No.03: T-S516 | 103.38
|  | 34.46 | 34.46 | 34.46
| Contr.U | VALVE NO./VALVE FLOW St No.01: U-S549; VALVE NO./VALVE FLOW St No.02: U-S552 | 68.92
|  | 34.46 | 34.46
| Contr.V | VALVE NO./VALVE FLOW St No.01: V-S616; VALVE NO./VALVE FLOW St No.02: V-S620; VALVE NO./VALVE FLOW St No.03: V-S700; VALVE NO./VALVE FLOW St No.04: V-S698 | 233.25
|  | 56.97 | 57.26 | 59.38 | 59.64
| Contr.W | VALVE NO./VALVE FLOW St No.01: W-S636 | 64.44
64.44
PERIOD NO.9 | Contr.A | VALVE NO./VALVE FLOW St No.01: A-S584; VALVE NO./VALVE FLOW St No.02: A-S585; VALVE NO./VALVE FLOW St No.03: A-S594; VALVE NO./VALVE FLOW St No.04: A-S579 | 164.12 | 2490.83 | 20 | 49816.6
|  | 34.46 | 34.46 | 46.99 | 48.21
| Contr.B | VALVE NO./VALVE FLOW St No.01: B-S195; VALVE NO./VALVE FLOW St No.02: B-S194; VALVE NO./VALVE FLOW St No.03: B-S209; VALVE NO./VALVE FLOW St No.04: B-S210 | 179.09
|  | 34.46 | 48.21 | 48.21 | 48.21
| Contr.C | VALVE NO./VALVE FLOW St No.01: C-S156; VALVE NO./VALVE FLOW St No.02: C-S155; VALVE NO./VALVE FLOW St No.03: C-S170; VALVE NO./VALVE FLOW St No.04: C-S171 | 179.09
|  | 34.46 | 48.21 | 48.21 | 48.21
| Contr.D | VALVE NO./VALVE FLOW St No.01: D-S44; VALVE NO./VALVE FLOW St No.02: D-S64 | 92.44
|  | 41.15 | 51.29
| Contr.E | VALVE NO./VALVE FLOW St No.01: E-S30; VALVE NO./VALVE FLOW St No.02: E-S52; VALVE NO./VALVE FLOW St No.03: E-S31 | 139.37
|  | 41.15 | 41.15 | 57.07
| Contr.F | VALVE NO./VALVE FLOW St No.01: F-S314; VALVE NO./VALVE FLOW St No.02: F-S318; VALVE NO./VALVE FLOW St No.03: F-S317 | 122.69
|  | 34.46 | 34.46 | 53.77
| Contr.G | VALVE NO./VALVE FLOW St No.01: G-S275; VALVE NO./VALVE FLOW St No.02: G-S300; VALVE NO./VALVE FLOW St No.03: G-S278 | 141.88
|  | 34.46 | 53.65 | 53.77
| Contr.H | VALVE NO./VALVE FLOW St No.01: H-S236; VALVE NO./VALVE FLOW St No.02: H-S261; VALVE NO./VALVE FLOW St No.03: H-S239 | 141.88
|  | 34.46 | 53.65 | 53.77
| Contr.I | VALVE NO./VALVE FLOW St No.01: I-S66 | 51.29
51.29
| Contr.K | VALVE NO./VALVE FLOW St No.01: K-S06; VALVE NO./VALVE FLOW St No.02: K-S10 | 95.86
|  | 37.42 | 58.44
| Contr.L | VALVE NO./VALVE FLOW St No.01: L-S124; VALVE NO./VALVE FLOW St No.02: L-S113 | 98.22
|  | 41.15 | 57.07
| Contr.M | VALVE NO./VALVE FLOW St No.01: M-S109 | 57.07
57.07
| Contr.N | VALVE NO./VALVE FLOW St No.01: N-S142; VALVE NO./VALVE FLOW St No.02: N-S144 | 92.44
|  | 41.15 | 51.29
| Contr.O | VALVE NO./VALVE FLOW St No.01: O-S352; VALVE NO./VALVE FLOW St No.02: O-S353; VALVE NO./VALVE FLOW St No.03: O-S355; VALVE NO./VALVE FLOW St No.04: O-S378 | 176.22
|  | 34.46 | 34.46 | 53.65 | 53.65
| Contr.P | VALVE NO./VALVE FLOW St No.01: P-S391; VALVE NO./VALVE FLOW St No.02: P-S392; VALVE NO./VALVE FLOW St No.03: P-S417 | 122.57
|  | 34.46 | 34.46 | 53.65
| Contr.Q | VALVE NO./VALVE FLOW St No.01: Q-S430; VALVE NO./VALVE FLOW St No.02: Q-S456 | 88.11
|  | 34.46 | 53.65
| Contr.S | VALVE NO./VALVE FLOW St No.01: S-S471; VALVE NO./VALVE FLOW St No.02: S-S474; VALVE NO./VALVE FLOW St No.03: S-S473 | 122.69
|  | 34.46 | 34.46 | 53.77
| Contr.T | VALVE NO./VALVE FLOW St No.01: T-S510; VALVE NO./VALVE FLOW St No.02: T-S513; VALVE NO./VALVE FLOW St No.03: T-S534 | 122.57
|  | 34.46 | 34.46 | 53.65
| Contr.U | VALVE NO./VALVE FLOW St No.01: U-S548; VALVE NO./VALVE FLOW St No.02: U-S550 | 88.11
|  | 34.46 | 53.65
| Contr.V | VALVE NO./VALVE FLOW St No.01: V-S623; VALVE NO./VALVE FLOW St No.02: V-S611 | 109.65
|  | 45 | 64.65
| Contr.W | VALVE NO./VALVE FLOW St No.01: W-S656; VALVE NO./VALVE FLOW St No.02: W-S683 | 105.47
|  | 41.03 | 64.44
PERIOD NO.10 | Contr.A | VALVE NO./VALVE FLOW St No.01: A-S583; VALVE NO./VALVE FLOW St No.02: A-S592; VALVE NO./VALVE FLOW St No.03: A-S593 | 130.88 | 2493.34 | 20 | 49866.8
|  | 34.46 | 48.21 | 48.21
| Contr.B | VALVE NO./VALVE FLOW St No.01: B-S186; VALVE NO./VALVE FLOW St No.02: B-S199 | 88.11
|  | 34.46 | 53.65
| Contr.C | VALVE NO./VALVE FLOW St No.01: C-S147; VALVE NO./VALVE FLOW St No.02: C-S160 | 88.11
|  | 34.46 | 53.65
| Contr.D | VALVE NO./VALVE FLOW St No.01: D-S42; VALVE NO./VALVE FLOW St No.02: D-S33 | 98.22
|  | 41.15 | 57.07
| Contr.E | VALVE NO./VALVE FLOW St No.01: E-S28; VALVE NO./VALVE FLOW St No.02: E-S49 | 98.22
|  | 41.15 | 57.07
| Contr.F | VALVE NO./VALVE FLOW St No.01: F-S312; VALVE NO./VALVE FLOW St No.02: F-S313; VALVE NO./VALVE FLOW St No.03: F-S325 | 122.69
|  | 34.46 | 34.46 | 53.77
| Contr.G | VALVE NO./VALVE FLOW St No.01: G-S273; VALVE NO./VALVE FLOW St No.02: G-S274; VALVE NO./VALVE FLOW St No.03: G-S286 | 122.69
|  | 34.46 | 34.46 | 53.77
| Contr.H | VALVE NO./VALVE FLOW St No.01: H-S234; VALVE NO./VALVE FLOW St No.02: H-S235; VALVE NO./VALVE FLOW St No.03: H-S247 | 122.69
|  | 34.46 | 34.46 | 53.77
| Contr.I | VALVE NO./VALVE FLOW St No.01: I-S74; VALVE NO./VALVE FLOW St No.02: I-S80 | 92.44
|  | 41.15 | 51.29
| Contr.K | VALVE NO./VALVE FLOW St No.01: K-S03; VALVE NO./VALVE FLOW St No.02: K-S11 | 95.86
|  | 37.42 | 58.44
| Contr.L | VALVE NO./VALVE FLOW St No.01: L-S122; VALVE NO./VALVE FLOW St No.02: L-S115 | 98.22
|  | 41.15 | 57.07
| Contr.M | VALVE NO./VALVE FLOW St No.01: M-S106; VALVE NO./VALVE FLOW St No.02: M-S108 | 82.3
|  | 41.15 | 41.15
| Contr.N | VALVE NO./VALVE FLOW St No.01: N-S138; VALVE NO./VALVE FLOW St No.02: N-S140 | 82.3
|  | 41.15 | 41.15
| Contr.O | VALVE NO./VALVE FLOW St No.01: O-S342; VALVE NO./VALVE FLOW St No.02: O-S351; VALVE NO./VALVE FLOW St No.03: O-S356 | 122.69
|  | 34.46 | 34.46 | 53.77
| Contr.P | VALVE NO./VALVE FLOW St No.01: P-S381; VALVE NO./VALVE FLOW St No.02: P-S390; VALVE NO./VALVE FLOW St No.03: P-S395 | 122.69
|  | 34.46 | 34.46 | 53.77
| Contr.Q | VALVE NO./VALVE FLOW St No.01: Q-S420; VALVE NO./VALVE FLOW St No.02: Q-S429; VALVE NO./VALVE FLOW St No.03: Q-S445; VALVE NO./VALVE FLOW St No.04: Q-S434 | 169.68
|  | 34.46 | 34.46 | 46.99 | 53.77
| Contr.S | VALVE NO./VALVE FLOW St No.01: S-S469; VALVE NO./VALVE FLOW St No.02: S-S470; VALVE NO./VALVE FLOW St No.03: S-S481 | 122.69
|  | 34.46 | 34.46 | 53.77
| Contr.T | VALVE NO./VALVE FLOW St No.01: T-S507; VALVE NO./VALVE FLOW St No.02: T-S508; VALVE NO./VALVE FLOW St No.03: T-S509; VALVE NO./VALVE FLOW St No.04: T-S512 | 157.15
|  | 34.46 | 34.46 | 34.46 | 53.77
| Contr.U | VALVE NO./VALVE FLOW St No.01: U-S537; VALVE NO./VALVE FLOW St No.02: U-S546; VALVE NO./VALVE FLOW St No.03: U-S547; VALVE NO./VALVE FLOW St No.04: U-S573 | 157.03
|  | 34.46 | 34.46 | 34.46 | 53.65
| Contr.V | VALVE NO./VALVE FLOW St No.01: V-S629; VALVE NO./VALVE FLOW St No.02: V-S703; VALVE NO./VALVE FLOW St No.03: V-S619 | 153.23
|  | 44.24 | 44.24 | 64.75
| Contr.W | VALVE NO./VALVE FLOW St No.01: W-S690; VALVE NO./VALVE FLOW St No.02: W-S635; VALVE NO./VALVE FLOW St No.03: W-S684 | 165.45
|  | 36.15 | 64.65 | 64.65
PERIOD NO.11 | Contr.A | VALVE NO./VALVE FLOW St No.01: A-S575; VALVE NO./VALVE FLOW St No.02: A-S582; VALVE NO./VALVE FLOW St No.03: A-S586 | 122.69 | 2493.47 | 20 | 49869.4
|  | 34.46 | 34.46 | 53.77
| Contr.B | VALVE NO./VALVE FLOW St No.01: B-S185; VALVE NO./VALVE FLOW St No.02: B-S222; VALVE NO./VALVE FLOW St No.03: B-S200 | 141.88
|  | 34.46 | 53.65 | 53.77
| Contr.C | VALVE NO./VALVE FLOW St No.01: C-S146; VALVE NO./VALVE FLOW St No.02: C-S183; VALVE NO./VALVE FLOW St No.03: C-S161 | 141.88
|  | 34.46 | 53.65 | 53.77
| Contr.D | VALVE NO./VALVE FLOW St No.01: D-S40; VALVE NO./VALVE FLOW St No.02: D-S35 | 98.22
|  | 41.15 | 57.07
| Contr.E | VALVE NO./VALVE FLOW St No.01: E-S24; VALVE NO./VALVE FLOW St No.02: E-S26; VALVE NO./VALVE FLOW St No.03: E-S51 | 139.37
|  | 41.15 | 41.15 | 57.07
| Contr.F | VALVE NO./VALVE FLOW St No.01: F-S302; VALVE NO./VALVE FLOW St No.02: F-S303; VALVE NO./VALVE FLOW St No.03: F-S332 | 125.47
|  | 34.46 | 34.46 | 56.55
| Contr.G | VALVE NO./VALVE FLOW St No.01: G-S263; VALVE NO./VALVE FLOW St No.02: G-S264; VALVE NO./VALVE FLOW St No.03: G-S293 | 125.47
|  | 34.46 | 34.46 | 56.55
| Contr.H | VALVE NO./VALVE FLOW St No.01: H-S224; VALVE NO./VALVE FLOW St No.02: H-S225; VALVE NO./VALVE FLOW St No.03: H-S254 | 125.47
|  | 34.46 | 34.46 | 56.55
| Contr.I | VALVE NO./VALVE FLOW St No.01: I-S72; VALVE NO./VALVE FLOW St No.02: I-S65 | 98.22
|  | 41.15 | 57.07
| Contr.K | VALVE NO./VALVE FLOW St No.01: K-S04; VALVE NO./VALVE FLOW St No.02: K-S05; VALVE NO./VALVE FLOW St No.03: K-S601 | 131.69
|  | 36.25 | 36.25 | 59.19
| Contr.L | VALVE NO./VALVE FLOW St No.01: L-S120; VALVE NO./VALVE FLOW St No.02: L-S125 | 98.22
|  | 41.15 | 57.07
| Contr.M | VALVE NO./VALVE FLOW St No.01: M-S104; VALVE NO./VALVE FLOW St No.02: M-S111 | 98.22
|  | 41.15 | 57.07
| Contr.N | VALVE NO./VALVE FLOW St No.01: N-S136; VALVE NO./VALVE FLOW St No.02: N-S129 | 98.22
|  | 41.15 | 57.07
| Contr.O | VALVE NO./VALVE FLOW St No.01: O-S341; VALVE NO./VALVE FLOW St No.02: O-S364 | 88.23
|  | 34.46 | 53.77
| Contr.P | VALVE NO./VALVE FLOW St No.01: P-S380; VALVE NO./VALVE FLOW St No.02: P-S403 | 88.23
|  | 34.46 | 53.77
| Contr.Q | VALVE NO./VALVE FLOW St No.01: Q-S427; VALVE NO./VALVE FLOW St No.02: Q-S442 | 100.76
|  | 46.99 | 53.77
| Contr.S | VALVE NO./VALVE FLOW St No.01: S-S468; VALVE NO./VALVE FLOW St No.02: S-S488 | 91.01
|  | 34.46 | 56.55
| Contr.T | VALVE NO./VALVE FLOW St No.01: T-S497; VALVE NO./VALVE FLOW St No.02: T-S498; VALVE NO./VALVE FLOW St No.03: T-S520 | 122.69
|  | 34.46 | 34.46 | 53.77
| Contr.U | VALVE NO./VALVE FLOW St No.01: U-S536; VALVE NO./VALVE FLOW St No.02: U-S551; VALVE NO./VALVE FLOW St No.03: U-S559 | 142
|  | 34.46 | 53.77 | 53.77
| Contr.V | VALVE NO./VALVE FLOW St No.01: V-S676; VALVE NO./VALVE FLOW St No.02: V-S655; VALVE NO./VALVE FLOW St No.03: V-S668; VALVE NO./VALVE FLOW St No.04: V-S671 | 212.72
|  | 38.61 | 41.03 | 66.54 | 66.54
| Contr.W | VALVE NO./VALVE FLOW St No.01: W-S632; VALVE NO./VALVE FLOW St No.02: W-R686 | 102.81
|  | 36.15 | 66.66
PERIOD NO.12 | Contr.A | VALVE NO./VALVE FLOW St No.01: A-S587; VALVE NO./VALVE FLOW St No.02: A-S588; VALVE NO./VALVE FLOW St No.03: A-S597; VALVE NO./VALVE FLOW St No.04: A-S580 | 150.37 | 2500.61 | 20 | 50012.2
|  | 34.46 | 34.46 | 34.46 | 46.99
| Contr.B | B-S216 | B-S220 | B-S221 | B-S193 | B-S211 | B-S190 |  |  | 245.57
|  | 34.46 | 34.46 | 34.46 | 46.99 | 46.99 | 48.21
| Contr.C | VALVE NO./VALVE FLOW St No.01: C-S157; VALVE NO./VALVE FLOW St No.02: C-S158; VALVE NO./VALVE FLOW St No.03: C-S177; VALVE NO./VALVE FLOW St No.04: C-S178 | 137.84
|  | 34.46 | 34.46 | 34.46 | 34.46
| Contr.D | VALVE NO./VALVE FLOW St No.01: D-S46; VALVE NO./VALVE FLOW St No.02: D-S43 | 86.87
|  | 41.15 | 45.72
| Contr.E | VALVE NO./VALVE FLOW St No.01: E-S55; VALVE NO./VALVE FLOW St No.02: E-S25; VALVE NO./VALVE FLOW St No.03: E-S29 | 149.76
|  | 45.72 | 46.97 | 57.07
| Contr.F | VALVE NO./VALVE FLOW St No.01: F-S315; VALVE NO./VALVE FLOW St No.02: F-S319; VALVE NO./VALVE FLOW St No.03: F-S335; VALVE NO./VALVE FLOW St No.04: F-S336 | 137.84
|  | 34.46 | 34.46 | 34.46 | 34.46
| Contr.G | VALVE NO./VALVE FLOW St No.01: G-S276; VALVE NO./VALVE FLOW St No.02: G-S279; VALVE NO./VALVE FLOW St No.03: G-S294; VALVE NO./VALVE FLOW St No.04: G-S295 | 137.84
|  | 34.46 | 34.46 | 34.46 | 34.46
| Contr.H | VALVE NO./VALVE FLOW St No.01: H-S237; VALVE NO./VALVE FLOW St No.02: H-S240; VALVE NO./VALVE FLOW St No.03: H-S258; VALVE NO./VALVE FLOW St No.04: H-S259 | 137.84
|  | 34.46 | 34.46 | 34.46 | 34.46
| Contr.I | VALVE NO./VALVE FLOW St No.01: I-S75 | 45.72
45.72
| Contr.K | VALVE NO./VALVE FLOW St No.01: K-S608; VALVE NO./VALVE FLOW St No.02: K-S16; VALVE NO./VALVE FLOW St No.03: K-S01 | 133.04
|  | 41.63 | 45.66 | 45.75
| Contr.L | VALVE NO./VALVE FLOW St No.01: L-S84; VALVE NO./VALVE FLOW St No.02: L-S119 | 86.87
|  | 41.15 | 45.72
| Contr.M | VALVE NO./VALVE FLOW St No.01: M-S110; VALVE NO./VALVE FLOW St No.02: M-S101 | 88.12
|  | 41.15 | 46.97
| Contr.N | VALVE NO./VALVE FLOW St No.01: N-S135 | 45.72
45.72
| Contr.O | VALVE NO./VALVE FLOW St No.01: O-S357; VALVE NO./VALVE FLOW St No.02: O-S373; VALVE NO./VALVE FLOW St No.03: O-S374; VALVE NO./VALVE FLOW St No.04: O-S345 | 139.64
|  | 34.46 | 34.46 | 34.46 | 36.26
| Contr.P | VALVE NO./VALVE FLOW St No.01: P-S396; VALVE NO./VALVE FLOW St No.02: P-S397 | 68.92
|  | 34.46 | 34.46
| Contr.Q | VALVE NO./VALVE FLOW St No.01: Q-S432; VALVE NO./VALVE FLOW St No.02: Q-S435; VALVE NO./VALVE FLOW St No.03: Q-S452; VALVE NO./VALVE FLOW St No.04: Q-S453 | 137.84
|  | 34.46 | 34.46 | 34.46 | 34.46
| Contr.S | VALVE NO./VALVE FLOW St No.01: S-S477; VALVE NO./VALVE FLOW St No.02: S-S493; VALVE NO./VALVE FLOW St No.03: S-S494 | 103.38
|  | 34.46 | 34.46 | 34.46
| Contr.T | VALVE NO./VALVE FLOW St No.01: T-S532; VALVE NO./VALVE FLOW St No.02: T-S533; VALVE NO./VALVE FLOW St No.03: T-S526 | 109.27
|  | 34.46 | 34.46 | 40.35
| Contr.U | VALVE NO./VALVE FLOW St No.01: U-S570; VALVE NO./VALVE FLOW St No.02: U-S571; VALVE NO./VALVE FLOW St No.03: U-S572 | 103.38
|  | 34.46 | 34.46 | 34.46
| Contr.V | VALVE NO./VALVE FLOW St No.01: V-S614; VALVE NO./VALVE FLOW St No.02: V-S696; VALVE NO./VALVE FLOW St No.03: V-S701; VALVE NO./VALVE FLOW St No.04: V-S612 | 210.54
|  | 45.2 | 45.2 | 55.7 | 64.44
| Contr.W | VALVE NO./VALVE FLOW St No.01: W-S631 | 44.24
44.24
PERIOD NO.13 | Contr.A | VALVE NO./VALVE FLOW St No.01: A-R698; VALVE NO./VALVE FLOW St No.02: A-R697 | 131.07 | 499.26 | 45 | 22466.7
|  | 64.62 | 66.45
| Contr.V | VALVE NO./VALVE FLOW St No.01: V-R691; VALVE NO./VALVE FLOW St No.02: V-R626; VALVE NO./VALVE FLOW St No.03: V-R692; VALVE NO./VALVE FLOW St No.04: V-R665 | 209.69
|  | 40.05 | 49.46 | 53.26 | 66.92
| Contr.W | VALVE NO./VALVE FLOW St No.01: W-R650; VALVE NO./VALVE FLOW St No.02: W-R643; VALVE NO./VALVE FLOW St No.03: W-R685 | 158.5
|  | 43.87 | 57.04 | 57.59
PERIOD NO.14 | Contr.A | VALVE NO./VALVE FLOW St No.01: A-R696 | 75.88 | 499.84 | 45 | 22492.8
75.88
| Contr.V | VALVE NO./VALVE FLOW St No.01: V-R663; VALVE NO./VALVE FLOW St No.02: V-R664; VALVE NO./VALVE FLOW St No.03: V-R693 | 145.29
|  | 39.47 | 39.47 | 66.35
| Contr.W | W-R652 | W-R647 | W-R651 | W-R645 | W-R678 | W-R644 |  |  | 278.67
|  | 39.47 | 40.11 | 42.05 | 42.42 | 47.96 | 66.66
PERIOD NO.15 | Contr.A | VALVE NO./VALVE FLOW St No.01: A-R694; VALVE NO./VALVE FLOW St No.02: A-R695 | 131.07 | 494.66 | 45 | 22259.7
|  | 55.19 | 75.88
| Contr.V | VALVE NO./VALVE FLOW St No.01: V-R669; VALVE NO./VALVE FLOW St No.02: V-R624 | 58.42
|  | 27.26 | 31.16
| Contr.W | W-R641 | W-R646 | W-R648 | W-R649 | W-R677 | W-R642 |  |  | 305.17
|  | 29.06 | 39.04 | 39.47 | 66.92 | 69.28 | 61.4
PERIOD NO.16 | Contr.V | V-F01 | V-F02 | V-F03 | V-F04 | V-F05 | V-F06 | V-F12 |  | 286.75 | 464 | 20 | 9280
|  | 54.75 | 58 | 33.5 | 22 | 24.25 | 39.5 | 54.75
| Contr.W | W-F07 | W-F08 | W-F09 | W-F10 | W-F11 |  |  |  | 177.25
|  | 39.5 | 24.25 | 22 | 33.5 | 58
PERIOD NO.17 | Contr.A | V-F01: A-B302; V-F02: A-B26; V-F03: A-B298; V-F04: A-B306 |  | 102 | 2289 | 20 | 45780
|  | 29 | 29 | 22 | 22
| Contr.B | V-F01: B-B133; V-F02: B-B137; V-F03: B-B141; V-F04: B-B145 |  | 95
|  | 22 | 22 | 29 | 22
| Contr.C | V-F01: C-B13; V-F02: C-B09; V-F03: C-B05; V-F04: C-B01 |  | 95
|  | 22 | 29 | 22 | 22
| Contr.D | V-F01: D-B31; V-F02: D-B35; V-F03: D-B39 |  | 76
|  | 24 | 28 | 24
| Contr.E | V-F01: E-B19; V-F02: E-B23; V-F03: E-B28; V-F04: E-B44 |  | 102
|  | 24 | 28 | 25 | 25
| Contr.F | V-F01: F-B181; V-F02: F-B177; V-F03: F-B173; V-F04: F-B169 |  | 95
|  | 22 | 29 | 22 | 22
| Contr.G | V-F01: G-B163; V-F02: G-B159; V-F03: G-B155; V-F04: G-B151 |  | 95
|  | 22 | 29 | 22 | 22
| Contr.H | V-F01: H-B127; V-F02: H-B123; V-F03: H-B119; V-F04: H-B115 |  | 95
|  | 22 | 29 | 22 | 22
| Contr.I | V-F01: I-B63; V-F02: I-B59; V-F03: I-B55 |  | 76
|  | 24 | 28 | 24
| Contr.K | V-F01: K-B319; V-F02: K-B315; V-F03: K-B311; V-F04: K-B307 |  | 132
|  | 45 | 17 | 43 | 27
| Contr.L | V-F01: L-B96; V-F02: L-B92; V-F03: L-B76; V-F04: L-B72 |  | 102
|  | 26 | 25 | 25 | 26
| Contr.M | V-F01: M-B87; V-F02: M-B83; V-F03: M-B79 |  | 76
|  | 24 | 28 | 24
| Contr.N | V-F01: N-B111; V-F02: N-B107; V-F03: N-B103 |  | 76
|  | 24 | 28 | 24
| Contr.O | O-B199 | O-B195 | O-B191 | O-B187 | O-B203 |  |  |  | 117
|  | 22 | 29 | 22 | 22 | 22
| Contr.P | P-B217 | P-B213 | P-B209 | P-B205 | P-B221 |  |  |  | 117
|  | 22 | 29 | 22 | 22 | 22
| Contr.Q | Q-B235 | Q-B231 | Q-B227 | Q-B223 | Q-B239 |  |  |  | 117
|  | 22 | 29 | 22 | 22 | 22
| Contr.S | S-B253 | S-B249 | S-B245 | S-B241 | S-B257 |  |  |  | 117
|  | 22 | 29 | 22 | 22 | 22
| Contr.T | T-B271 | T-B267 | T-B263 | T-B259 | T-B275 |  |  |  | 117
|  | 22 | 29 | 22 | 22 | 22
| Contr.U | U-B289 | U-B285 | U-B281 | U-B277 | U-B293 |  |  |  | 117
|  | 22 | 29 | 22 | 22 | 22
| Contr.W | V-F01: W-B115; V-F02: W-B111; V-F03: W-B122; V-F04: W-B128 |  | 183
|  | 73 | 28 | 58 | 24
| Contr.V | V-F01: V-B118; V-F02: V-B127; V-F03: V-B123; V-F04: V-B125 |  | 187
|  | 75 | 24 | 60 | 28
PERIOD NO.18 | Contr.A | V-F01: A-B303; V-F02: A-B295; V-F03: A-B299 |  | 70 | 2291 | 20 | 45820
|  | 22 | 22 | 26
| Contr.B | B-B134 | B-B138 | B-B142 | B-B146 | B-B150 |  |  |  | 116
|  | 22 | 22 | 29 | 21 | 22
| Contr.C | C-B14 | C-B10 | C-B06 | C-B02 | C-B18 |  |  |  | 116
|  | 21 | 29 | 22 | 22 | 22
| Contr.D | V-F01: D-B32; V-F02: D-B36; V-F03: D-B40 |  | 76
|  | 25 | 26 | 25
| Contr.E | E-B20 | E-B24 | E-B29 | E-B45 | E-B49 | E-B53 |  |  | 152
|  | 25 | 26 | 25 | 25 | 26 | 25
| Contr.F | F-B182 | F-B178 | F-B174 | F-B170 | F-B186 |  |  |  | 116
|  | 21 | 29 | 22 | 22 | 22
| Contr.G | G-B164 | G-B160 | G-B156 | G-B152 | G-B168 |  |  |  | 116
|  | 21 | 29 | 22 | 22 | 22
| Contr.H | H-B128 | H-B124 | H-B120 | H-B116 | H-B132 | H-B131 |  |  | 138
|  | 21 | 29 | 22 | 22 | 22 | 22
| Contr.I | V-F01: I-B64; V-F02: I-B60; V-F03: I-B56 |  | 76
|  | 25 | 26 | 25
| Contr.K | K-B320 | K-B316 | K-B312 | K-B308 | K-B69 |  |  |  | 139
|  | 22 | 27 | 17 | 48 | 25
| Contr.L | L-B97 | L-B93 | L-B77 | L-B73 | L-B101 |  |  |  | 127
|  | 26 | 25 | 25 | 26 | 25
| Contr.M | V-F01: M-B88; V-F02: M-B84; V-F03: M-B80 |  | 76
|  | 25 | 26 | 25
| Contr.N | V-F01: N-B112; V-F02: N-B108; V-F03: N-B104 |  | 76
|  | 25 | 26 | 25
| Contr.O | V-F01: O-B200; V-F02: O-B196; V-F03: O-B192; V-F04: O-B188 |  | 94
|  | 21 | 29 | 22 | 22
| Contr.P | V-F01: P-B218; V-F02: P-B214; V-F03: P-B210; V-F04: P-B206 |  | 94
|  | 21 | 29 | 22 | 22
| Contr.Q | V-F01: Q-B236; V-F02: Q-B232; V-F03: Q-B228; V-F04: Q-B224 |  | 94
|  | 21 | 29 | 22 | 22
| Contr.S | V-F01: S-B254; V-F02: S-B250; V-F03: S-B246; V-F04: S-B242 |  | 94
|  | 21 | 29 | 22 | 22
| Contr.T | V-F01: T-B272; V-F02: T-B268; V-F03: T-B264; V-F04: T-B260 |  | 94
|  | 21 | 29 | 22 | 22
| Contr.U | V-F01: U-B290; V-F02: U-B286; V-F03: U-B282; V-F04: U-B278 |  | 94
|  | 21 | 29 | 22 | 22
| Contr.W | V-F01: W-B116; V-F02: W-B112; V-F03: W-B103; V-F04: V-B127 |  | 180
|  | 44 | 39 | 73 | 24
| Contr.V | V-F01: V-B119; V-F02: V-B117; V-F03: V-B100; V-F04: V-B108 |  | 153
|  | 35 | 44 | 54 | 20
PERIOD NO.19 | Contr.A | V-F01: A-B304; V-F02: A-B296; V-F03: A-B300 |  | 72 | 2285 | 20 | 45700
|  | 21 | 22 | 29
| Contr.B | V-F01: B-B135; V-F02: B-B139; V-F03: B-B143; V-F04: B-B147 |  | 99
|  | 22 | 26 | 29 | 22
| Contr.C | V-F01: C-B15; V-F02: C-B11; V-F03: C-B07; V-F04: C-B03 |  | 99
|  | 22 | 29 | 26 | 22
| Contr.D | V-F01: D-B33; V-F02: D-B37; V-F03: D-B41 |  | 76
|  | 25 | 26 | 25
| Contr.E | E-B21 | E-B25 | E-B30 | E-B46 | E-B50 | E-B54 | E-B52 |  | 177
|  | 25 | 26 | 24 | 24 | 29 | 24 | 25
| Contr.F | V-F01: F-B183; V-F02: F-B179; V-F03: F-B175; V-F04: F-B171 |  | 99
|  | 22 | 29 | 26 | 22
| Contr.G | V-F01: G-B165; V-F02: G-B161; V-F03: G-B157; V-F04: G-B153 |  | 99
|  | 22 | 29 | 26 | 22
| Contr.H | V-F01: H-B129; V-F02: H-B125; V-F03: H-B121; V-F04: H-B117 |  | 99
|  | 22 | 29 | 26 | 22
| Contr.I | V-F01: I-B65; V-F02: I-B61; V-F03: I-B57 |  | 76
|  | 25 | 26 | 25
| Contr.K | K-B321 | K-B317 | K-B313 | K-B309 | K-B70 | K-B68 |  |  | 195
|  | 56 | 48 | 26 | 16 | 24 | 25
| Contr.L | L-B98 | L-B94 | L-B78 | L-B74 | L-B102 | L-B100 |  |  | 155
|  | 29 | 24 | 24 | 29 | 24 | 25
| Contr.M | V-F01: M-B89; V-F02: M-B85; V-F03: M-B81 |  | 76
|  | 25 | 26 | 25
| Contr.N | V-F01: N-B113; V-F02: N-B109; V-F03: N-B105 |  | 76
|  | 25 | 26 | 25
| Contr.O | V-F01: O-B201; V-F02: O-B197; V-F03: O-B193; V-F04: O-B189 |  | 99
|  | 22 | 29 | 26 | 22
| Contr.P | V-F01: P-B219; V-F02: P-B215; V-F03: P-B211; V-F04: P-B207 |  | 99
|  | 22 | 29 | 26 | 22
| Contr.Q | V-F01: Q-B237; V-F02: Q-B233; V-F03: Q-B229; V-F04: Q-B225 |  | 99
|  | 22 | 29 | 26 | 22
| Contr.S | V-F01: S-B255; V-F02: S-B251; V-F03: S-B247; V-F04: S-B243 |  | 99
|  | 22 | 29 | 26 | 22
| Contr.T | V-F01: T-B273; V-F02: T-B269; V-F03: T-B265; V-F04: T-B261 |  | 99
|  | 22 | 29 | 26 | 22
| Contr.U | V-F01: U-B291; V-F02: U-B287; V-F03: U-B283; V-F04: U-B279 |  | 99
|  | 22 | 29 | 26 | 22
| Contr.W | V-F01: W-B102; V-F02: W-B113; V-F03: W-B104 |  | 165
|  | 50 | 73 | 42
| Contr.V | V-F01: V-B120; V-F02: V-B110; V-F03: V-B101 |  | 128
|  | 48 | 38 | 42
PERIOD NO.20 | Contr.A | V-F01: A-B305; V-F02: A-B297; V-F03: A-B301 |  | 73 | 2292 | 20 | 45840
|  | 22 | 22 | 29
| Contr.B | B-B136 | B-B140 | B-B144 | B-B148 | B-B149 |  |  |  | 120
|  | 22 | 29 | 25 | 22 | 22
| Contr.C | C-B16 | C-B12 | C-B08 | C-B04 | C-B17 |  |  |  | 120
|  | 22 | 25 | 29 | 22 | 22
| Contr.D | V-F01: D-B34; V-F02: D-B38; V-F03: D-B42 |  | 77
|  | 24 | 29 | 24
| Contr.E | E-B22 | E-B27 | E-B43 | E-B47 | E-B51 | E-B48 |  |  | 150
|  | 24 | 24 | 24 | 28 | 24 | 26
| Contr.F | F-B184 | F-B180 | F-B176 | F-B172 | F-B185 |  |  |  | 120
|  | 22 | 25 | 29 | 22 | 22
| Contr.G | G-B166 | G-B162 | G-B158 | G-B154 | G-B167 |  |  |  | 120
|  | 22 | 25 | 29 | 22 | 22
| Contr.H | V-F01: H-B130; V-F02: H-B126; V-F03: H-B122; V-F04: H-B118 |  | 98
|  | 22 | 25 | 29 | 22
| Contr.I | V-F01: I-B66; V-F02: I-B62; V-F03: I-B58 |  | 77
|  | 24 | 29 | 24
| Contr.K | V-F01: K-B67; V-F02: K-B318; V-F03: K-B314; V-F04: K-B310 |  | 109
|  | 24 | 16 | 43 | 26
| Contr.L | L-B99 | L-B95 | L-B91 | L-B75 | L-B71 |  |  |  | 128
|  | 24 | 28 | 24 | 24 | 28
| Contr.M | V-F01: M-B90; V-F02: M-B86; V-F03: M-B82 |  | 77
|  | 24 | 29 | 24
| Contr.N | V-F01: N-B114; V-F02: N-B110; V-F03: N-B106 |  | 77
|  | 24 | 29 | 24
| Contr.O | O-B202 | O-B198 | O-B194 | O-B190 | O-B204 |  |  |  | 120
|  | 22 | 25 | 29 | 22 | 22
| Contr.P | P-B220 | P-B216 | P-B212 | P-B208 | P-B222 |  |  |  | 120
|  | 22 | 25 | 29 | 22 | 22
| Contr.Q | Q-B238 | Q-B234 | Q-B230 | Q-B226 | Q-B240 |  |  |  | 120
|  | 22 | 25 | 29 | 22 | 22
| Contr.S | S-B256 | S-B252 | S-B248 | S-B244 | S-B258 |  |  |  | 120
|  | 22 | 25 | 29 | 22 | 22
| Contr.T | T-B274 | T-B270 | T-B266 | T-B262 | T-B276 |  |  |  | 120
|  | 22 | 25 | 29 | 22 | 22
| Contr.U | U-B292 | U-B288 | U-B284 | U-B280 | U-B294 |  |  |  | 120
|  | 22 | 25 | 29 | 22 | 22
| Contr.W | V-F01: W-B124; V-F02: W-B114; V-F03: W-B105 |  | 123
|  | 38 | 28 | 57
| Contr.V | V-F01: V-B121; V-F02: V-B109; V-F03: V-B106 |  | 103
|  | 28 | 28 | 47
PERIOD NO.21 | Contr.A | A-D55 | A-D56 | A-D57 | A-D58 | A-D59 | A-D60 |  |  | 60.75 | 1518.37 | 60 | 91102.2
|  | 10 | 8.25 | 8.25 | 8.25 | 8.25 | 17.75
| Contr.B | B-D49 | B-D50 | B-D51 | B-D52 | B-D53 | B-D54 |  |  | 60.75
|  | 10 | 8.25 | 8.25 | 8.25 | 8.25 | 17.75
| Contr.C | C-D43 | C-D44 | C-D45 | C-D46 | C-D47 | C-D48 |  |  | 60.75
|  | 10 | 8.25 | 8.25 | 8.25 | 8.25 | 17.75
| Contr.D | D-D05 | D-D06 | D-D07 | D-D08 |  |  |  |  | 73.5
|  | 18 | 18.25 | 18.25 | 19
| Contr.E | E-D01 | E-D02 | E-D03 | E-D04 | E-D09 | E-D10 | E-D11 | E-D12 | 147
|  | 18 | 18.25 | 18.25 | 19 | 18 | 18.25 | 18.25 | 19
| Contr.F | F-D73 | F-D74 | F-D75 | F-D76 | F-D77 | F-D78 |  |  | 60.75
|  | 10 | 8.25 | 8.25 | 8.25 | 8.25 | 17.75
| Contr.G | G-D67 | G-D68 | G-D69 | G-D70 | G-D71 | G-D72 |  |  | 60.75
|  | 10 | 8.25 | 8.25 | 8.25 | 8.25 | 17.75
| Contr.H | H-D61 | H-D62 | H-D63 | H-D64 | H-D65 | H-D66 |  |  | 60.75
|  | 10 | 8.25 | 8.25 | 8.25 | 8.25 | 17.75
| Contr.I | I-D13 | I-D14 | I-D15 | I-D16 |  |  |  |  | 73.5
|  | 18 | 18.25 | 18.25 | 19
| Contr.K | K-D109 | K-D17 | K-D18 | K-D19 | K-D20 |  |  |  | 74.87
|  | 1.37 | 18 | 18.25 | 18.25 | 19
| Contr.L | L-D21 | L-D22 | L-D23 | L-D24 | L-D25 | L-D26 | L-D27 | L-D28 | 147
|  | 18 | 18.25 | 18.25 | 19 | 18 | 18.25 | 18.25 | 19
| Contr.M | L-D21: M-D29; L-D22: M-D30; L-D23: M-D31; L-D24: M-D32; 147: 73.5
|  | 18 | 18.25 | 18.25 | 19
| Contr.N | L-D21: N-D33; L-D22: N-D34; L-D23: N-D35; L-D24: N-D36; 147: 73.5
|  | 18 | 18.25 | 18.25 | 19
| Contr.O | O-D79 | O-D80 | O-D81 | O-D82 | O-D83 | O-D84 |  |  | 60.75
|  | 10 | 8.25 | 8.25 | 8.25 | 8.25 | 17.75
| Contr.P | P-D85 | P-D86 | P-D87 | P-D88 | P-D89 | P-D90 |  |  | 60.75
|  | 10 | 8.25 | 8.25 | 8.25 | 8.25 | 17.75
| Contr.Q | Q-D37 | Q-D38 | Q-D39 | Q-D40 | Q-D41 | Q-D42 |  |  | 60.75
|  | 10 | 8.25 | 8.25 | 8.25 | 8.25 | 17.75
| Contr.S | S-D91 | S-D92 | S-D93 | S-D94 | S-D95 | S-D96 |  |  | 60.75
|  | 10 | 8.25 | 8.25 | 8.25 | 8.25 | 17.75
| Contr.T | T-D100 | T-D101 | T-D102 | T-D97 | T-D98 | T-D99 |  |  | 60.75
|  | 8.25 | 8.25 | 17.75 | 10 | 8.25 | 8.25
| Contr.U | U-D103 | U-D104 | U-D105 | U-D106 | U-D107 | U-D108 |  |  | 60.75
|  | 10 | 8.25 | 8.25 | 8.25 | 8.25 | 17.75
| Contr.V | V-D110 | V-D111 | V-D113 | V-D114 |  |  |  |  | 45.5
|  | 5 | 14 | 10.5 | 16
| Contr.W | U-D103: W-D112; U-D104: W-D115 |  |  | 81
|  | 40.25 | 40.75
|  | U-D103: TOTAL |  |  |  |  | 535 | 949461.6
[12 empty] | 8.9167 | 3593.7229
NOTES: | A. Spray Sprinkler circuit Period are from 1 to12,and will Run for 20 min per Period
B.Rotor Sprinkler circuit Period are from 13 to15 ,and will Run for 45min per Period
C. Subsurface circuit Period is 16 will Run for 20 min per Period
D. Bubbler circuit Period are 17 to 20 will Run for 20 min per Period
E. Drip circuit Period is 21 will Run for 60 min per Period
F.Total irrigation time per cycle is 8 hour and 55 minute .
G.Total consumption of water per irrigation cycle 3593.7 cubic meters.
H. Run time indicated for plants at maturity.At every stage of plant needs adjustment.