## SCHEDULE
irrigation Network | irrigation Network
Irrigation Schedule Time | Irrigation Schedule Time | [11 empty] | Date : 11/2023 |  | REV: (00)
PERIOD | CONTROLLER | VALVE NO./VALVE FLOW | [10 empty] | TOTAL GPM | RUN TIME | TOTAL GPD
|  | STATION 01 | STATION 01 | STATION 01 | STATION 01 | STATION 01 | STATION 01 | STATION 01 | STATION 01 | STATION 01 | STATION 01 | STATION 01
1 | CONTROLLER-A | A-S21 | A-S23 | A-S25 | A-S27 | [7 empty] | 511.85 | 38 | 19450.3
|  | 24.12 | 10.06 | 17.38 | 17.86
| CONTROLLER-B | B-S02 | B-S04 | B-S06 | B-S08
|  | 29.05 | 17.03 | 23.84 | 21.99
| CONTROLLER-C | C-S13 | C-S15 | C-S17
|  | 11.01 | 8.88 | 16.15
| CONTROLLER-D | D-S47 | D-S49 | D-S51 | D-S53
|  | 20.14 | 34.67 | 20.27 | 26.29
| CONTROLLER-E | E-S34 | E-S36 | E-S43 | E-S40 | E-S42
|  | 42.14 | 47.63 | 48.34 | 39.56 | 35.44
2 | CONTROLLER-A | A-S20 | A-S22 | A-S24 | A-S26 | A-S28 | A-S29 | A-S30 | A-S31 |  |  |  | 1024.88 | 38 | 38945.44
|  | 33.75 | 18.28 | 8.93 | 15.73 | 17.6 | 29.15 | 19.63 | 21.26
| CONTROLLER-B | B-S01 | B-S03 | B-S05 | B-S07 | B-S09 | B-S10 | B-S11
|  | 27.17 | 51.54 | 47.63 | 43.45 | 26.9 | 38.32 | 33.83
| CONTROLLER-C | C-S12 | C-S14 | C-S16 | C-S18 | C-S19 | C-S32
|  | 20.12 | 12.83 | 12.74 | 17.45 | 39.06 | 10.1
| CONTROLLER-D | D-S46 | D-S48 | D-S50 | D-S52 | D-S54 | D-S55 | D-S56 | D-S57
|  | 22.98 | 19.06 | 38.32 | 44.47 | 18.14 | 26.95 | 48.89 | 20.87
| CONTROLLER-E | E-S33 | E-S35 | E-S37 | E-S39 | E-S41 | E-S38 | E-S44 | E-S45
|  | 22.4 | 47.29 | 21.53 | 29.89 | 31.01 | 28.25 | 42.51 | 16.85
3 | CONTROLLER-A | A-B152 | A-B50 | A-B55 | A-B59 | A-B63 | A-B67 | A-B71 | A-B75 | A-B81 | A-B85 | A-B88 | 1060.75 | 27 | 28640.25
|  | 16.5 | 9 | 27.75 | 14.25 | 36.25 | 30.25 | 18 | 42 | 20.25 | 23.25 | 46.25
| CONTROLLER-B | B-B113 | B-B117 | B-B121 | B-B125 | B-B129 | B-B140 | B-B144 | B-B147 | B-B150 | B-B19
|  | 19.5 | 18.75 | 25.5 | 32.25 | 45.5 | 24.75 | 29.25 | 17.25 | 31.5 | 23.25
| CONTROLLER-C | C-B100 | C-B104 | C-B108 | C-B112 | C-B109 | C-B159 | C-B92 | C-B97 | C-B99
|  | 14.25 | 20.25 | 18 | 18 | 15.75 | 16.5 | 39 | 18.75 | 22.5
| CONTROLLER-D | D-B157 | D-B24 | D-B29 | D-B161 | D-B36 | D-B39
|  | 16.5 | 21 | 14.25 | 10 | 24.75 | 21
| CONTROLLER-E | E-B01 | E-B05 | E-B09 | E-B13 | E-B16 | E-B20 | E-B42 | E-B49 | E-B48
|  | 18.75 | 19.5 | 35 | 19 | 18.5 | 46 | 24 | 16.5 | 21.75
4 | CONTROLLER-A | A-B153 | A-B51 | A-B56 | A-B60 | A-B64 | A-B68 | A-B72 | A-B76 | A-B82 | A-B86 | A-B89 | 1061.5 | 27 | 28660.5
|  | 24.75 | 9.75 | 12 | 12.75 | 53 | 14.25 | 35.5 | 40 | 20.25 | 24.75 | 29
| CONTROLLER-B | B-B114 | B-B118 | B-B122 | B-B126 | B-B130 | B-B141 | B-B145 | B-B148 | B-B151 | B-B79
|  | 18 | 13.5 | 37.5 | 32.25 | 37.75 | 20.25 | 15 | 20.25 | 33.75 | 15
| CONTROLLER-C | C-B101 | C-B105 | C-B131 | C-B135 | C-B52 | C-B93 | C-B96 | C-B134
|  | 10.5 | 21.75 | 18.75 | 21 | 43.5 | 20.25 | 37.25 | 18
| CONTROLLER-D | D-B32 | D-B25 | D-B28 | D-B33 | D-B41 | D-B38
|  | 31 | 21.75 | 19.5 | 40.75 | 24 | 22.5
| CONTROLLER-E | E-B02 | E-B06 | E-B10 | E-B14 | E-B160 | E-B22 | E-B43 | E-B46 | E-B17
|  | 20.25 | 9.75 | 20.25 | 21.75 | 21 | 16.5 | 21 | 21.75 | 39.5
5 | CONTROLLER-A | A-B154 | A-B53 | A-B57 | A-B61 | A-B65 | A-B69 | A-B73 | A-B78 | A-B83 | A-B87 | A-B95 | 1060.5 | 27 | 28633.5
|  | 15.75 | 21 | 15 | 13.5 | 23.25 | 19.5 | 17.25 | 19.5 | 27 | 16.5 | 25.5
| CONTROLLER-B | B-B115 | B-B119 | B-B123 | B-B127 | B-B124 | B-B139 | B-B128 | B-B149 | B-B158 | B-B91
|  | 15 | 22.5 | 24.75 | 47.75 | 33.75 | 31.5 | 31.75 | 19.5 | 17.25 | 25
| CONTROLLER-C | C-B102 | C-B106 | C-B110 | C-B111 | C-B136 | C-B77 | C-B94 | C-B98 | C-B90
|  | 19.5 | 19.5 | 16.5 | 24 | 17.25 | 37.25 | 35.25 | 37.5 | 25
| CONTROLLER-D | D-B31 | D-B26 | D-B30 | D-B34 | D-B40 | D-B37
|  | 32.25 | 17.25 | 27 | 19.5 | 27 | 25.5
| CONTROLLER-E | E-B03 | E-B07 | E-B11 | E-B15 | E-B45 | E-B21 | E-B44 | E-B47 | E-B18
|  | 15.75 | 19.5 | 45.25 | 12.75 | 24 | 18.75 | 20.25 | 20.25 | 21.25
6 | CONTROLLER-A | A-B155 | A-B54 | A-B58 | A-B62 | A-B66 | A-B70 | A-B74 | A-B80 | A-B84 |  |  | 531 | 27 | 14337
|  | 17.25 | 14.25 | 18.75 | 25.25 | 33 | 31.5 | 10.5 | 20 | 22.5
| CONTROLLER-B | B-B116 | B-B120 | B-B138 | B-B146 | B-B142 | B-B143
|  | 12.75 | 23.25 | 21 | 21 | 21 | 28.5
| CONTROLLER-C | A-B155: C-B103; A-B54: C-B107; A-B58: C-B132; A-B62: C-B133; A-B66: C-B137
|  | 15 | 17.25 | 6.75 | 14.25 | 19.5
| CONTROLLER-D | A-B155: D-B23; A-B54: D-B27; A-B58: D-B162; A-B62: D-B35
|  | 23.25 | 14.25 | 8.75 | 16.5
| CONTROLLER-E | A-B155: E-B04; A-B54: E-B08; A-B58: E-B12; A-B62: E-B156
|  | 16.5 | 19.5 | 18.75 | 20.25
7 | CONTROLLER-A | A-D124 | A-D148 | A-D162 | A-D176 | A-D190 | A-D204 | A-D218 |  |  |  |  | 1080.78 | 22 | 23777.16
|  | 22.4 | 19.3 | 50.69 | 33.6 | 38.8 | 26.92 | 48.9
| CONTROLLER-B | B-D08 | B-D13 | B-D225 | B-D30 | B-D404 | B-D417 | B-D436 | B-D54
|  | 23.6 | 38.5 | 40.7 | 39 | 29.3 | 37.2 | 42.8 | 28.5
| CONTROLLER-C | C-D01 | C-D107 | C-D138 | C-D386 | C-D431 | C-D65 | C-D81 | C-D95
|  | 24 | 36.4 | 31.6 | 28 | 17.6 | 27 | 24 | 27.4
| CONTROLLER-D | D-D351 | D-D316 | D-D344 | D-D309 | D-D323 | D-D361
|  | 20.8 | 37.5 | 48 | 49 | 22.6 | 42
| CONTROLLER-E | E-D246 | E-D260 | E-D274 | E-D288 | E-D375
|  | 30.84 | 28.8 | 23.2 | 25.15 | 16.68
8 | CONTROLLER-A | A-D125 | A-D149 | A-D163 | A-D177 | A-D191 | A-D205 | A-D237 |  |  |  |  | 1080.01 | 22 | 23760.22
|  | 35.7 | 30.87 | 48.68 | 34.7 | 48.58 | 39.9 | 34.9
| CONTROLLER-B | B-D09 | B-D14 | B-D226 | B-D31 | B-D405 | B-D418 | B-D437 | B-D55
|  | 43.3 | 34.6 | 41.1 | 47.5 | 28.5 | 45.01 | 32.2 | 18.2
| CONTROLLER-C | C-D94 | C-D108 | C-D143 | C-D427 | C-D432 | C-D66 | C-D385 | C-D387
|  | 32 | 19.7 | 29.5 | 25.8 | 23.4 | 17.4 | 27.1 | 34.8
| CONTROLLER-D | D-D302 | D-D329 | D-D349 | D-D357 | D-D337 | D-D373
|  | 37.4 | 21.7 | 28 | 21.6 | 21.6 | 40
| CONTROLLER-E | E-D247 | E-D261 | E-D275 | E-D282 | E-D287
|  | 36 | 33.2 | 33.3 | 22.77 | 11
9 | CONTROLLER-A | A-D127 | A-D150 | A-D164 | A-D178 | A-D192 | A-D206 | A-D238 |  |  |  |  | 1080.62 | 22 | 23773.64
|  | 34.2 | 39.6 | 28.37 | 22.6 | 44.21 | 27.61 | 37.2
| CONTROLLER-B | B-D10 | B-D15 | B-D227 | B-D32 | B-D406 | B-D419 | B-D438 | B-D56
|  | 37.9 | 45.5 | 47.1 | 29.5 | 24.4 | 47.4 | 16.3 | 24.4
| CONTROLLER-C | C-D03 | C-D109 | C-D144 | C-D78 | C-D433 | C-D67 | C-D83 | C-D97
|  | 35.6 | 37.3 | 36.9 | 31.6 | 18.5 | 37.8 | 21.4 | 40.2
| CONTROLLER-D | D-D303 | D-D318 | D-D332 | D-D354 | D-D326 | D-D370
|  | 50.9 | 21.35 | 22.3 | 28 | 20.3 | 39
| CONTROLLER-E | E-D248 | E-D298 | E-D276 | E-D295 | E-D377
|  | 14 | 24.48 | 36.6 | 21.9 | 36.2
10 | CONTROLLER-A | A-D128 | A-D151 | A-D165 | A-D179 | A-D193 | A-D207 | A-D239 |  |  |  |  | 1081.5 | 22 | 23793
|  | 26.7 | 49.7 | 49.32 | 37.6 | 41.34 | 36.9 | 49.78
| CONTROLLER-B | B-D11 | B-D16 | B-D228 | B-D33 | B-D407 | B-D42 | B-D439 | B-D57
|  | 19.8 | 43.3 | 36.8 | 27 | 23.1 | 31.6 | 15.8 | 20.1
| CONTROLLER-C | C-D04 | C-D110 | C-D145 | C-D447 | C-D434 | C-D68 | C-D84 | C-D98
|  | 25.5 | 36.9 | 22 | 27.86 | 19.6 | 22.4 | 30 | 49.57
| CONTROLLER-D | D-D304 | D-D333 | D-D347 | D-D330 | D-D374
|  | 49.6 | 42.6 | 43.27 | 40 | 43.6
| CONTROLLER-E | E-D265 | E-D263 | E-D277 | E-D291 | E-D378
|  | 32.66 | 7 | 25 | 31.5 | 23.6
11 | CONTROLLER-A | A-D129 | A-D152 | A-D166 | A-D180 | A-D194 | A-D208 | A-D240 |  |  |  |  | 1080.33 | 22 | 23767.26
|  | 36.4 | 40.1 | 47.75 | 35.56 | 52.15 | 43.38 | 46.57
| CONTROLLER-B | B-D116 | B-D17 | B-D229 | B-D34 | B-D408 | B-D420 | B-D44 | B-D58
|  | 41.7 | 32.6 | 36.4 | 45.3 | 45 | 15.2 | 31.1 | 30
| CONTROLLER-C | C-D446 | C-D111 | C-D136 | C-D390 | C-D399 | C-D383 | C-D85 | C-D99
|  | 28.7 | 33.5 | 26.6 | 35.8 | 27.8 | 22.5 | 30.6 | 25.4
| CONTROLLER-D | D-D314 | D-D320 | D-D348 | D-D356 | D-D327
|  | 32.41 | 18.6 | 38.5 | 30.7 | 33.5
| CONTROLLER-E | E-D250 | E-D300 | E-D278 | E-D292 | E-D379
|  | 8.34 | 27.45 | 16.32 | 32 | 32.4
12 | CONTROLLER-A | A-D130 | A-D153 | A-D167 | A-D181 | A-D195 | A-D209 | A-D241 |  |  |  |  | 1081.11 | 22 | 23784.42
|  | 38.7 | 43.97 | 33.35 | 49.37 | 29.6 | 47.29 | 49.08
| CONTROLLER-B | B-D117 | B-D18 | B-D23 | B-D35 | B-D409 | B-D421 | B-D45 | B-D59
|  | 64.8 | 38.8 | 30.4 | 31.6 | 32.7 | 16.3 | 48.8 | 34.29
| CONTROLLER-C | C-D06 | C-D112 | C-D220 | C-D391 | C-D440 | C-D70 | C-D86
|  | 39 | 25.5 | 23.2 | 19.6 | 28.8 | 27.7 | 29.9
| CONTROLLER-D | D-D307 | D-D321 | D-D335 | D-D331 | D-D311
|  | 19.2 | 49.23 | 29.29 | 32.1 | 25.2
| CONTROLLER-E | E-D251 | E-D249 | E-D279 | E-D293 | E-D380
|  | 8.34 | 38 | 16.64 | 41.8 | 38.56
13 | CONTROLLER-A | A-D131 | A-D154 | A-D168 | A-D182 | A-D196 | A-D210 | A-D242 |  |  |  |  | 1079.91 | 22 | 23758.02
|  | 10.8 | 27.97 | 49.66 | 42 | 50 | 24.36 | 15.9
| CONTROLLER-B | B-D118 | B-D19 | B-D230 | B-D36 | B-D41 | B-D422 | B-D46 | B-D60
|  | 47.1 | 39.6 | 41.4 | 45.9 | 27.1 | 33.6 | 28.2 | 29.3
| CONTROLLER-C | C-D07 | C-D113 | C-D25 | C-D392 | C-D441 | C-D71 | C-D87
|  | 29.6 | 35.9 | 36.3 | 48.7 | 39 | 27.2 | 28.1
| CONTROLLER-D | D-D308 | D-D322 | D-D336 | D-D350 | D-D364
|  | 40.66 | 25.1 | 35.9 | 50.02 | 45.5
| CONTROLLER-E | E-D252 | E-D266 | E-D280 | E-D294 | E-D381
|  | 25.9 | 21.8 | 16.64 | 41.1 | 19.6
14 | CONTROLLER-A | A-D132 | A-D155 | A-D169 | A-D183 | A-D197 | A-D211 | A-D243 |  |  |  |  | 1081.82 | 22 | 23800.04
|  | 49.6 | 44.3 | 42.6 | 24.37 | 20.75 | 29.6 | 31.5
| CONTROLLER-B | B-D119 | B-D20 | B-D231 | B-D37 | B-D410 | B-D423 | B-D47 | B-D61
|  | 37.4 | 15.9 | 30.9 | 50.21 | 20.2 | 39.4 | 23.2 | 33.4
| CONTROLLER-C | C-D69 | C-D114 | C-D100 | C-D393 | C-D442 | C-D72 | C-D88
|  | 31.8 | 29.2 | 32.8 | 24.4 | 32.2 | 41.1 | 37.7
| CONTROLLER-D | D-D365 | D-D372 | D-D359 | D-D358 | D-D334
|  | 46.23 | 19.26 | 46 | 50.16 | 31.54
| CONTROLLER-E | A-D124: E-D253; A-D148: E-D267; A-D162: E-D281; A-D176: E-D289
|  | 30.9 | 43.3 | 32.8 | 59.1
15 | CONTROLLER-A | A-D139 | A-D156 | A-D170 | A-D184 | A-D198 | A-D212 | A-D244 |  |  |  |  | 1080.72 | 22 | 23775.84
|  | 25.4 | 40.03 | 32.18 | 48.34 | 38.82 | 50.55 | 41.4
| CONTROLLER-B | B-D12 | B-D21 | B-D232 | B-D38 | B-D411 | B-D424 | B-D48 | B-D62
|  | 27.27 | 38.8 | 22.1 | 30.1 | 32.1 | 46.6 | 28.1 | 34.6
| CONTROLLER-C | C-D101 | C-D115 | C-D27 | C-D76 | C-D443 | C-D73 | C-D89
|  | 36.3 | 33.8 | 31.9 | 37.7 | 29.8 | 19.4 | 40.2
| CONTROLLER-D | D-D310 | D-D324 | D-D363 | D-D301 | D-D328
|  | 46.23 | 45 | 23.4 | 28.6 | 43.4
| CONTROLLER-E | A-D124: E-D254; A-D148: E-D271; A-D162: E-D290; A-D176: E-D296
|  | 27.3 | 25.2 | 35.1 | 41
16 | CONTROLLER-A | A-D140 | A-D157 | A-D171 | A-D185 | A-D199 | A-D213 | A-D245 |  |  |  |  | 1080.31 | 22 | 23766.82
|  | 32.1 | 40.4 | 50.99 | 53.29 | 35.64 | 52.01 | 31.9
| CONTROLLER-B | B-D120 | B-D22 | B-D233 | B-D382 | B-D412 | B-D425 | B-D49 | B-D63
|  | 50.6 | 22.8 | 56.4 | 20 | 27.1 | 29.1 | 18.4 | 48.8
| CONTROLLER-C | C-D102 | C-D135 | C-D28 | C-D05 | C-D444 | C-D75 | C-D90
|  | 22.7 | 29.2 | 34.8 | 29.4 | 25 | 25.4 | 42.4
| CONTROLLER-D | D-D325 | D-D369 | D-D353 | D-D367 | D-D338
|  | 45.1 | 29 | 22 | 44.6 | 27.5
| CONTROLLER-E | A-D124: E-D272; A-D148: E-D269; A-D162: E-D283; A-D176: E-D297
|  | 28.7 | 27 | 28.98 | 49
17 | CONTROLLER-A | A-D141 | A-D158 | A-D172 | A-D186 | A-D200 | A-D214 | A-D397 |  |  |  |  | 1082.16 | 22 | 23807.52
|  | 41.9 | 26.27 | 22.94 | 51.21 | 41.64 | 35.4 | 47.74
| CONTROLLER-B | B-D121 | B-D221 | B-D234 | B-D39 | B-D413 | B-D428 | B-D50 | B-D77
|  | 37.3 | 36.2 | 20.3 | 31.8 | 33.3 | 23.6 | 19.4 | 30.6
| CONTROLLER-C | C-D103 | C-D134 | C-D29 | C-D396 | C-D445 | C-D74 | C-D91
|  | 46 | 24.9 | 39.5 | 23.7 | 27.5 | 23.9 | 34.7
| CONTROLLER-D | D-D312 | D-D368 | D-D340 | D-D346 | D-D339
|  | 34.8 | 39 | 42 | 43.3 | 43.3
| CONTROLLER-E | A-D124: E-D256; A-D148: E-D270; A-D162: E-D284; A-D176: E-D262
|  | 33.86 | 37.6 | 34.1 | 54.4
18 | CONTROLLER-A | A-D142 | A-D159 | A-D173 | A-D187 | A-D201 | A-D215 | A-D398 |  |  |  |  | 1081.42 | 22 | 23791.24
|  | 18.6 | 48.2 | 32.98 | 40.43 | 35.94 | 41.2 | 19.9
| CONTROLLER-B | B-D122 | B-D222 | B-D235 | B-D40 | B-D414 | B-D429 | B-D51 | B-D79
|  | 10.8 | 34.5 | 17.2 | 32.4 | 32.2 | 37.2 | 31.9 | 34
| CONTROLLER-C | C-D104 | C-D133 | C-D26 | C-D435 | C-D395 | C-D394 | C-D92
|  | 27.6 | 41.8 | 34.8 | 50 | 43.5 | 41.4 | 23.2
| CONTROLLER-D | D-D313 | D-D352 | D-D341 | D-D355 | D-D360
|  | 34.6 | 34 | 50 | 36.9 | 50.89
| CONTROLLER-E | A-D124: E-D257; A-D148: E-D268; A-D162: E-D305; A-D176: E-D299
|  | 31.3 | 37.5 | 44.2 | 32.28
19 | CONTROLLER-A | A-D146 | A-D160 | A-D174 | A-D188 | A-D202 | A-D216 | A-D400 |  |  |  |  | 1080.91 | 22 | 23780.02
|  | 37.8 | 41.6 | 49.6 | 34.8 | 47.8 | 36.28 | 21.2
| CONTROLLER-B | B-D123 | B-D223 | B-D236 | B-D402 | B-D415 | B-D43 | B-D52
|  | 10.8 | 22.9 | 16.4 | 24.7 | 32.5 | 33.9 | 36.7
| CONTROLLER-C | C-D105 | C-D219 | C-D384 | C-D389 | C-D426 | C-D388 | C-D93
|  | 32.4 | 38.4 | 37 | 48.1 | 26.9 | 33 | 43.1
| CONTROLLER-D | D-D306 | D-D366 | D-D342 | D-D362 | D-D319
|  | 48 | 49.26 | 50.08 | 40.6 | 48.79
| CONTROLLER-E | A-D146: E-D258; A-D160: E-D259; A-D174: E-D286; A-D188: E-D264
|  | 33.4 | 30 | 38 | 36.9
20 | CONTROLLER-A | A-D147 | A-D161 | A-D175 | A-D189 | A-D203 | A-D217 | A-D401 |  |  |  |  | 1081.55 | 22 | 23794.1
|  | 35.8 | 30.75 | 32.89 | 22.4 | 48.7 | 43.9 | 37.24
| CONTROLLER-B | B-D126 | B-D224 | B-D24 | B-D403 | B-D416 | B-D430 | B-D53
|  | 36.1 | 27.8 | 25.4 | 33.1 | 24.5 | 18.8 | 27.8
| CONTROLLER-C | C-D106 | C-D137 | C-D02 | C-D64 | C-D80 | C-D82 | C-D96
|  | 46.3 | 40.4 | 30.4 | 38.1 | 40.3 | 37 | 32.5
| CONTROLLER-D | D-D315 | D-D317 | D-D343 | D-D345 | D-D371
|  | 15.4 | 45.71 | 46.45 | 50.6 | 54.9
| CONTROLLER-E | A-D147: E-D376; A-D161: E-D273; A-D175: E-D255; A-D189: E-D285
|  | 26.38 | 44.8 | 41.13 | 46
TOTAL | [13 empty] | 492 | 491596.29
[14 empty] | 8.2 | 1860.6975
NOTES:
1. Period 1 and 2 are R-VAN Sprinkler circuit,and will Run for 38 min
2. Period from 3 and 6 are Bubbler circuit,and will Run for 27 min.
4. Period 7 to 20 are Drip circuit,and will Run for 22 min.
6.Total irrigation time per cycle is 8 hr and 12 min.
7.Total consumption of water per irrigation cycle 1860.70 cubic meters per day.
8. Run time indicated for plants at maturity.At every stage of plant needs adjustment.

## Sheet1
511.85
531
1024.88
1060.5
1060.75
1061.5
1079.91
1080.01
1080.31
1080.33
1080.62
1080.72
1080.78
1080.91
1081.11
1081.42
1081.5
1081.55
1081.82
1082.16