## TANK (2)
WATERING SCHEDULE
SHIFT | ZONE | OPERATING TIME |  | CONTROLLER - A | [5 empty] | CONTROLLER - B | [6 empty] | SHIFT FLOW | RUNTIME | DEMAND
|  | START | STOP | [13 empty] | (gpm) | (mins) | (gallons)
1 | Turf - Sprinklers | 27:00 | 27:20 | A-S245 | A-S229 | A-S215 | A-S247 | A-S231 | [9 empty] | 23
|  |  |  | 41.6 | 66.87 | 60.78 | 46.13 | 81.4
2 | Turf - Sprinklers | 27:20 | 27:40 | A-S219 | A-S221 |  |  |  |  | B-S263 | B-S257 | B-S259 | [5 empty] | 23
|  |  |  | 54.18 | 85.19 |  |  |  |  | 51.24 | 52.96 | 52.87
3 | Turf - Sprinklers | 27:40 | 28:00 | A-S209 | [5 empty] | B-S267 | B-S253 | B-S249 | B-S255 |  |  |  |  | 23
|  |  |  | 56.33 | [5 empty] | 62.91 | 56.92 | 74.6 | 46.27
4 | Turf - Sprinklers | 28:00 | 28:20 | A-S211 | A-S227 | A-S243 |  |  |  | B-S273 | B-S275 | [6 empty] | 23
|  |  |  | 57.26 | 41.65 | 39.71 |  |  |  | 83.29 | 75.46
5 | Turf - Sprinklers | 28:20 | 28:40 | A-S213 | A-S207 | A-S225 |  |  |  | B-S265 | [7 empty] | 23
|  |  |  | 67.43 | 62.64 | 79.03 |  |  |  | 85.1
6 | Turf - Sprinklers | 28:40 | 29:00 | A-S217 | A-S233 |  |  |  |  | B-S279 | B-S261 | [6 empty] | 23
|  |  |  | 60.58 | 70 |  |  |  |  | 80.43 | 85.1
7 | Turf - Sprinklers | 29:00 | 29:20 | A-S241 | A-S235 |  |  |  |  | B-S269 | B-S251 | [6 empty] | 23
|  |  |  | 63.09 | 84.26 |  |  |  |  | 80.43 | 65.33
8 | Turf - Sprinklers | 29:20 | 29:40 | A-S201 | A-S205 | A-S203 | A-S237 | [10 empty] | 23
|  |  |  | 65.8 | 66.14 | 83.85 | 77.58
9 | Turf - Sprinklers | 29:40 | 30:00 | A-S239 | A-S223 |  |  |  |  | B-S277 | B-S271 | [6 empty] | 23
|  |  |  | 67.58 | 68.15 |  |  |  |  | 76.17 | 85.1
10 | Trees - Bubblers | 30:00 | 30:20 | A-B16 | [5 empty] | B-B34 | B-B37 | B-B26 | B-B36 | B-B24 | B-B20 | B-B39 |  | 27
|  |  |  | 13 | [5 empty] | 49 | 58 | 65 | 9 | 53 | 28 | 14
11 | Trees - Bubblers | 30:20 | 30:40 | A-B15 | A-B06 | A-B07 | A-B03 | A-B12 | A-B08 | B-B27 | B-B32 | B-B31 | B-B23 |  |  |  |  | 27
|  |  |  | 12 | 14 | 17 | 19 | 37 | 42 | 45 | 49 | 41 | 13
12 | Trees - Bubblers | 30:40 | 31:00 | A-B01 | A-B11 | A-B10 | A-B19 | A-B02 | A-B17 | B-B38 | B-B30 | B-B29 | B-B40 | B-B21 |  |  |  | 27
|  |  |  | 14 | 36 | 17 | 17 | 36 | 28 | 34 | 17 | 41 | 14 | 35
13 | Trees - Bubblers | 31:00 | 31:20 | A-B04 | A-B18 | A-B05 | A-B09 | A-B13 | A-B14 | B-B28 | B-B35 | B-B33 | B-B22 | B-B25 |  |  |  | 27
|  |  |  | 33 | 21 | 24 | 28 | 32 | 26 | 25 | 34 | 17 | 25 | 24
14 | Shrubs & Groundcovers - Drip | 31:20 | 32:20 | A-D62 | A-D60 | A-D64 |  |  |  | B-D83 | B-D78 | [6 empty] | 60
|  |  |  | 13.75 | 74.75 | 49.5 |  |  |  | 61 | 69
15 | Shrubs & Groundcovers - Drip | 32:20 | 33:20 | [6 empty] | B-D70 | B-D72 | B-D80 | B-D81 | B-D69 |  |  |  | 60
[10 empty] | 34 | 69 | 76 | 59.5 | 33.75
16 | Shrubs & Groundcovers - Drip | 33:20 | 34:20 | A-D65 | A-D59 |  |  |  |  | B-D82 | B-D75 | B-D76 | [5 empty] | 60
|  |  |  | 65.5 | 80 |  |  |  |  | 85 | 19.5 | 20
17 | Shrubs & Groundcovers - Drip | 34:20 | 35:20 | A-D63 | [5 empty] | B-D73 | B-D77 | B-D74 | B-D71 | B-D68 |  |  |  | 60
|  |  |  | 52 | [5 empty] | 69 | 69 | 26.75 | 26 | 27.25
18 | Shrubs & Groundcovers - Drip | 35:20 | 24:20 | A-D67 | A-D61 | A-D66 |  |  |  | B-D79 | [7 empty] | 60
|  |  |  | 17.5 | 85.75 | 88.5 |  |  |  | 79
TOTAL RUNTIME (minutes) / TOTAL WATER DEMAND (gallons)
TOTAL RUNTIME (hours) / TOTAL WATER DEMAND (m³)
Notes:
1. | Shifts 1 to 9 are all sprays for small turf lawns and shall run for (23) minutes each shift per day.
2. | Shifts 10 TO 13 are all bublers for trees & palms and shall run for (27) minutes each shift daily.
3. | Shift 14 TO 18 are all drip for shrubs and groundcovers and shall run for (60) minutes each shift daily.
4. | The system will run for a total of (10 ) hours and (15) minutes each day.
5. | Total daily water demand (TWD) is approximately (656.710) cubic meter.

## TANK (1.)
WATERING SCHEDULE
SHIFT | ZONE | OPERATING TIME |  | CONTROLLER - C |  |  |  | CONTROLLER - D |  |  |  | CONTROLLER - E |  |  |  | CONTROLLER - F |  |  |  |  | CONTROLLER - i |  |  |  |  | CONTROLLER - G | [6 empty] | CONTROLLER - j |  |  |  | CONTROLLER - K |  |  | CONTROLLER - H | [7 empty] | SHIFT FLOW | RUNTIME | DEMAND
|  | START | STOP | [44 empty] | (gpm) | (mins) | (gallons)
1 | Turf - Sprinklers | 27:00 | 27:20 |  |  |  |  | D-S108 | D-S89 |  |  | E-S74 | E-S25 | E-S26 |  | F-S03 | [16 empty] | J-S96 | [15 empty] | 23
[8 empty] | 88.22 | 38.66 |  |  | 89.67 | 89.85 | 89.92 |  | 89.68 | [16 empty] | 89.91
2 | Turf - Sprinklers | 27:20 | 27:40 |  |  |  |  | D-S101 | D-S85 |  |  | E-S32 |  |  |  | F-S15 | [9 empty] | G-S167 | [6 empty] | J-S99 | [6 empty] | H-S186 | [8 empty] | 23
[8 empty] | 88.97 | 88.91 |  |  | 88.67 |  |  |  | 22.16 | [9 empty] | 82.83 | [6 empty] | 88.93 | [6 empty] | 89.59
3 | Turf - Sprinklers | 27:40 | 28:00 | C-S202 | C-S212 | C-S328 |  | D-S109 | D-S126 | [16 empty] | G-S165 | [22 empty] | 23
|  |  |  | 87.57 | 87.91 | 87.26 |  | 88.36 | 88.49 | [16 empty] | 88.97
4 | Turf - Sprinklers | 28:00 | 28:20 | C-S222 |  |  |  | D-S84 | D-S135 |  |  | E-S34 |  |  |  | F-S58 | [9 empty] | G-S160 | [6 empty] | J-S322 | [15 empty] | 23
|  |  |  | 86.55 |  |  |  | 29.14 | 74.06 |  |  | 86.37 |  |  |  | 86.47 | [9 empty] | 86.32 | [6 empty] | 86.34
5 | Turf - Sprinklers | 28:20 | 28:40 | C-S301 |  |  |  | D-S128 |  |  |  | E-S75 |  |  |  | F-S52 | [16 empty] | J-S95 |  |  |  | K-S258 | K-S292 | [10 empty] | 23
|  |  |  | 86.2 |  |  |  | 85.89 |  |  |  | 86.08 |  |  |  | 86.11 | [16 empty] | 85.98 |  |  |  | 86.17 | 39.75
6 | Turf - Sprinklers | 28:40 | 29:00 | C-S313 | C-S327 |  |  | D-S117 |  |  |  | E-S61 | E-S30 | E-S22 | [11 empty] | G-S169 | [6 empty] | J-S286 | [15 empty] | 23
|  |  |  | 67.18 | 87.11 |  |  | 31.31 |  |  |  | 83.2 | 86.32 | 86.29 | [11 empty] | 85.43 | [6 empty] | 29.58
7 | Turf - Sprinklers | 29:00 | 29:20 | C-S204 | C-S310 | C-S326 | [5 empty] | E-S42 | [20 empty] | J-S288 |  |  |  | K-S283 | K-S254 | [10 empty] | 23
|  |  |  | 85.8 | 85.49 | 85.59 | [5 empty] | 85.38 | [20 empty] | 34.16 |  |  |  | 85.8 | 84.83
8 | Turf - Sprinklers | 29:20 | 29:40 | C-S230 |  |  |  | D-S81 | D-S119 | [16 empty] | G-S142 | G-S153 | G-S162 |  |  |  |  | J-S82 | [6 empty] | H-S199 | [8 empty] | 23
|  |  |  | 83.29 |  |  |  | 83.29 | 43.32 | [16 empty] | 83.29 | 83.29 | 83.29 |  |  |  |  | 83.29 | [6 empty] | 45.17
9 | Turf - Sprinklers | 29:40 | 30:00 | C-S206 |  |  |  |  | D-S127 |  |  | E-S27 | [20 empty] | J-S287 | J-S323 | [5 empty] | H-S176 | H-S182 | [7 empty] | 23
|  |  |  | 83.75 |  |  |  |  | 83.84 |  |  | 83.38 | [20 empty] | 47.24 | 84 | [5 empty] | 83.29 | 83.29
10 | Turf - Sprinklers | 30:00 | 30:20 | C-S216 | C-S226 | C-S228 | [5 empty] | E-S43 | E-S62 | E-S23 | [11 empty] | G-S143 | [13 empty] | H-S191 | [8 empty] | 23
|  |  |  | 83.98 | 85.19 | 85.19 | [5 empty] | 85.19 | 42.52 | 85.19 | [11 empty] | 85.19 | [13 empty] | 36.54
11 | Turf - Sprinklers | 30:20 | 30:40 | C-S331 |  |  |  | D-S120 | D-S123 | [16 empty] | G-S166 | [6 empty] | J-S316 | [6 empty] | H-S177 | H-S187 | [7 empty] | 23
|  |  |  | 84.04 |  |  |  | 84.9 | 85.07 | [16 empty] | 56.79 | [6 empty] | 84.65 | [6 empty] | 69.37 | 85.18
12 | Turf - Sprinklers | 30:40 | 31:00 | [12 empty] | F-S04 | [9 empty] | G-S146 | [10 empty] | K-S264 | K-S266 | K-S284 | H-S192 | H-S157 | H-S289 | [6 empty] | 23
[16 empty] | 85.31 | [9 empty] | 85.19 | [10 empty] | 85.19 | 85.19 | 85.19 | 36.07 | 85.19 | 41.56
13 | Turf - Sprinklers | 31:00 | 31:20 | C-S307 |  |  |  | D-S112 | [7 empty] | F-S12 | F-S14 |  |  |  | I-S65 | [15 empty] | K-S272 | K-S276 | K-S294 | [9 empty] | 23
|  |  |  | 78.36 |  |  |  | 70.43 | [7 empty] | 78.55 | 78.13 |  |  |  | 78.55 | [15 empty] | 77.15 | 49.59 | 77.61
14 | Turf - Sprinklers | 31:20 | 31:40 | C-S303 | C-S304 |  |  | D-S100 | D-S114 | D-S116 | [5 empty] | F-S01 | F-S55 | [19 empty] | K-S290 | [11 empty] | 23
|  |  |  | 82.81 | 82.94 |  |  | 78.32 | 48.03 | 82.8 | [5 empty] | 47.9 | 82.79 | [19 empty] | 83.03
15 | Turf - Sprinklers | 31:40 | 32:00 | C-S139 | [7 empty] | E-S46 | E-S47 | [7 empty] | I-S77 |  |  |  |  | G-S140 | G-S150 | G-S173 | [8 empty] | K-S268 |  |  | H-S183 | [8 empty] | 23
|  |  |  | 69.07 | [7 empty] | 68.76 | 57.73 | [7 empty] | 68.15 |  |  |  |  | 57.25 | 68.15 | 69.37 | [8 empty] | 69.02 |  |  | 60.58
16 | Turf - Sprinklers | 32:00 | 32:20 |  |  |  |  | D-S113 | D-S87 | [6 empty] | F-S05 | F-S08 | F-S09 | F-S10 | F-S59 | I-S78 |  |  |  |  | G-S149 | [22 empty] | 23
[8 empty] | 52.61 | 49.78 | [6 empty] | 73.03 | 73.07 | 73.03 | 73.03 | 53 | 68.15 |  |  |  |  | 73.15
17 | Turf - Sprinklers | 32:20 | 32:40 | [8 empty] | E-S21 | E-S33 |  |  | F-S13 | F-S53 | [31 empty] | 23
[12 empty] | 69.95 | 70.04 |  |  | 68.86 | 70.04
18 | Turf - Sprinklers | 32:40 | 33:00 | C-S305 |  |  |  | D-S110 | D-S92 |  |  | E-S18 |  |  |  | F-S51 |  |  |  |  | I-S64 | [15 empty] | K-S300 |  |  | H-S156 | [8 empty] | 23
|  |  |  | 78.77 |  |  |  | 79.46 | 49.04 |  |  | 63.86 |  |  |  | 79.51 |  |  |  |  | 79.43 | [15 empty] | 79.46 |  |  | 78.83
19 | Turf - Sprinklers | 33:00 | 33:20 |  |  |  |  | D-S124 | [7 empty] | F-S50 |  |  |  |  | I-S68 |  |  |  |  | G-S147 | G-S164 | [5 empty] | J-S195 | J-S324 |  |  | K-S278 | K-S285 | [10 empty] | 23
[8 empty] | 70.97 | [7 empty] | 62.93 |  |  |  |  | 63.25 |  |  |  |  | 70.97 | 56.79 | [5 empty] | 70.35 | 84.62 |  |  | 51.11 | 58.89
20 | Turf - Sprinklers | 33:20 | 33:40 | [12 empty] | F-S48 | F-S60 |  |  |  | I-S66 |  |  |  |  | G-S172 | [13 empty] | H-S174 | H-S178 | H-S181 | H-S190 | [5 empty] | 23
[16 empty] | 62.21 | 48.81 |  |  |  | 80.09 |  |  |  |  | 79.51 | [13 empty] | 79.51 | 79.51 | 79.51 | 79.62
21 | Turf - Sprinklers | 33:40 | 34:00 |  |  |  |  | D-S90 | D-S118 | [11 empty] | I-S72 | I-S73 | [10 empty] | J-S103 |  |  |  | K-S260 | K-S274 | K-S295 | [9 empty] | 23
[8 empty] | 79.85 | 80.58 | [11 empty] | 50.85 | 55.67 | [10 empty] | 80.21 |  |  |  | 80.52 | 80.21 | 80.43
22 | Turf - Sprinklers | 34:00 | 34:20 | C-S136 | C-S137 | C-S329 |  | D-S107 | D-S130 | D-S131 | D-S133 | [28 empty] | H-S198 | [8 empty] | 23
|  |  |  | 83.29 | 83.29 | 81.8 |  | 45.34 | 83.29 | 83.29 | 83.29 | [28 empty] | 44.51
23 | Turf - Sprinklers | 34:20 | 34:40 | C-S214 | C-S330 | [6 empty] | E-S35 |  |  |  | F-S02 | [9 empty] | G-S170 | G-S171 | [5 empty] | J-S317 | [6 empty] | H-S179 | [8 empty] | 23
|  |  |  | 82.1 | 82.21 | [6 empty] | 45.61 |  |  |  | 51.97 | [9 empty] | 81.4 | 81.4 | [5 empty] | 82.27 | [6 empty] | 81.4
24 | Turf - Sprinklers | 34:40 | 35:00 | C-S224 | C-S240 | C-S314 |  | D-S94 |  |  |  | E-S29 |  |  |  | F-S57 | [9 empty] | G-S168 | [10 empty] | K-B114 | [11 empty] | 23
|  |  |  | 81.4 | 47.02 | 81.4 |  | 81.27 |  |  |  | 81.08 |  |  |  | 81.06 | [9 empty] | 81.4 | [10 empty] | 54
25 | Turf - Sprinklers | 35:00 | 35:20 | C-S218 | C-S309 | C-S311 | [5 empty] | E-S37 | E-S19 | [12 empty] | G-S158 | [6 empty] | J-S106 |  |  |  | K-S262 |  |  | H-S189 | [8 empty] | 23
|  |  |  | 53.5 | 53.35 | 72.64 | [5 empty] | 64.81 | 72.44 | [12 empty] | 53.88 | [6 empty] | 72.16 |  |  |  | 73.02 |  |  | 72.64
26 | Turf - Sprinklers | 35:20 | 35:40 | C-S200 | C-S236 |  |  | D-S134 | [24 empty] | J-S104 | J-S325 |  |  | K-S281 | K-S293 | K-S63 | [9 empty] | 23
|  |  |  | 80.82 | 55.6 |  |  | 80.92 | [24 empty] | 80.92 | 80.59 |  |  | 80.66 | 80.87 | 48.35
27 | Turf - Sprinklers | 35:40 | 36:00 | C-S234 | C-S238 | C-S242 |  | D-S122 |  |  |  | E-S38 | [13 empty] | G-S145 | [10 empty] | K-S246 | K-S297 |  | H-S154 | [8 empty] | 23
|  |  |  | 72.1 | 56.75 | 72.16 |  | 71.95 |  |  |  | 53.97 | [13 empty] | 62.47 | [10 empty] | 54.96 | 71.93 |  | 71.93
28 | Turf - Sprinklers | 36:00 | 36:20 | C-S138 |  |  |  | D-S105 | D-S91 |  |  | E-S28 | [8 empty] | I-S67 |  |  |  |  | G-S148 | G-S151 | [9 empty] | K-S252 | [11 empty] | 23
|  |  |  | 51.73 |  |  |  | 76.66 | 76.41 |  |  | 76.37 | [8 empty] | 76.64 |  |  |  |  | 76.64 | 76.94 | [9 empty] | 76.74
29 | Turf - Sprinklers | 36:20 | 36:40 |  |  |  |  | D-S125 |  |  |  | E-S31 |  |  |  | F-S54 |  |  |  |  | I-S79 |  |  |  |  | G-S161 | G-S163 | [9 empty] | K-S280 |  |  | H-S180 | [8 empty] | 23
[8 empty] | 73.83 |  |  |  | 71.93 |  |  |  | 73.83 |  |  |  |  | 73.78 |  |  |  |  | 73.83 | 73.83 | [9 empty] | 73.83 |  |  | 73.24
30 | Turf - Sprinklers | 36:40 | 25:00 | [12 empty] | F-S07 |  |  |  |  | I-S70 |  |  |  |  | G-S141 | [6 empty] | J-S318 | J-S319 | J-S83 |  | K-S250 |  |  | H-S194 | [8 empty] | 23
[16 empty] | 74.33 |  |  |  |  | 75.68 |  |  |  |  | 75.26 | [6 empty] | 74.94 | 74.91 | 75.1 |  | 63.6 |  |  | 74.89
31 | Turf - Sprinklers | 25:00 | 25:20 | C-S210 | C-S232 | C-S306 | [5 empty] | E-S41 | E-S45 | [19 empty] | J-S321 | [6 empty] | H-S152 | H-S188 | [7 empty] | 23
|  |  |  | 75.94 | 75.93 | 75.72 | [5 empty] | 75.93 | 75.72 | [19 empty] | 57.9 | [6 empty] | 75.72 | 75.81
32 | Turf - Sprinklers | 25:20 | 25:40 | C-S308 |  |  |  | D-S80 | D-S93 |  |  | E-S44 | E-S20 |  |  | F-S17 | [16 empty] | J-S97 |  |  |  | K-S248 | K-S299 | [10 empty] | 23
|  |  |  | 60.06 |  |  |  | 67.45 | 66.64 |  |  | 67.97 | 65.46 |  |  | 66.72 | [16 empty] | 33.96 |  |  |  | 67.23 | 58.68
33 | Turf - Sprinklers | 25:40 | 26:00 |  |  |  |  | D-S86 | D-S88 | [6 empty] | F-S11 | F-S49 |  |  |  | I-S69 | I-S76 |  |  |  | G-S144 | [10 empty] | K-S291 |  |  | H-S184 | [8 empty] | 23
[8 empty] | 58.99 | 65.82 | [6 empty] | 66.44 | 66.26 |  |  |  | 66.13 | 66.26 |  |  |  | 66.21 | [10 empty] | 66.38 |  |  | 66.18
34 | Turf - Sprinklers | 26:00 | 26:20 |  |  |  |  | D-S115 |  |  |  | E-S39 |  |  |  | F-S40 | [16 empty] | J-S196 | J-S320 | J-S197 |  | K-S244 | K-S256 |  | H-S185 | [8 empty] | 23
[8 empty] | 64.45 |  |  |  | 64.35 |  |  |  | 69.73 | [16 empty] | 64.36 | 65.42 | 64.85 |  | 64.82 | 66.76 |  | 65.57
35 | Turf - Sprinklers | 26:20 | 26:40 | C-S208 | C-S220 | C-S302 | C-S312 | D-S102 | D-S111 | D-S121 | [26 empty] | K-S282 |  |  | H-S155 | [8 empty] | 23
|  |  |  | 71.25 | 71.49 | 71.89 | 71.15 | 71.67 | 12.61 | 71.57 | [26 empty] | 39.1 |  |  | 71.26
36 | Turf - Sprinklers | 26:40 | 27:00 | C-S332 | [7 empty] | E-S36 | E-S24 |  |  | F-S56 | [16 empty] | J-S315 | J-S98 |  |  | K-S296 | [11 empty] | 23
|  |  |  | 84.38 | [7 empty] | 60.61 | 84.51 |  |  | 84.51 | [16 empty] | 84.55 | 63.97 |  |  | 70.97
37 | Turf - Sprinklers | 27:00 | 27:20 |  |  |  |  | D-S132 | D-S129 | [6 empty] | F-S06 | F-S16 |  |  |  | I-S71 | [15 empty] | K-S270 | K-S298 |  | H-S193 | H-S175 | [7 empty] | 23
[8 empty] | 61.28 | 70.97 | [6 empty] | 61.99 | 60.7 |  |  |  | 61.12 | [15 empty] | 61.28 | 56.79 |  | 61.34 | 62.47
38 | Trees - Bubblers | 27:20 | 27:40 | C-B75 |  |  |  | D-B43 |  |  |  | E-B118 | E-B123 | E-B124 |  | F-B104 | F-B134 | F-B135 | F-B86 |  | I-B127 | I-B128 | [10 empty] | J-B55 |  |  |  | K-B82 |  |  |  | H-B113 | [7 empty] | 27
|  |  |  | 20 |  |  |  | 63 |  |  |  | 17 | 9 | 20 |  | 71 | 18 | 18 | 20 |  | 71 | 77 | [10 empty] | 18 |  |  |  | 71 |  |  |  | 37
39 | Trees - Bubblers | 27:40 | 28:00 | C-B69 | C-B70 | C-B77 | [5 empty] | E-B132 | E-B136 |  |  | F-B103 | F-B105 | F-B91 |  |  | I-B110 | I-B130 | I-B52 | [9 empty] | J-B49 | J-B48 |  |  | K-B73 | K-B81 |  | H-B63 | [8 empty] | 27
|  |  |  | 26 | 24 | 23 | [5 empty] | 61 | 58 |  |  | 53 | 33 | 25 |  |  | 22 | 58 | 66 | [9 empty] | 10 | 11 |  |  | 10 | 23 |  | 33
40 | Trees - Bubblers | 28:00 | 28:20 | C-B74 |  |  |  | D-B45 |  |  |  | E-B121 | E-B125 | E-B92 |  | F-B89 |  |  |  |  | I-B108 | I-B111 |  |  |  | G-B129 | G-B119 | [5 empty] | J-B68 | J-B71 |  |  | K-B83 | K-B84 | K-B85 | H-B60 | [8 empty] | 27
|  |  |  | 37 |  |  |  | 42 |  |  |  | 26 | 22 | 34 |  | 41 |  |  |  |  | 40 | 12 |  |  |  | 32 | 12 | [5 empty] | 38 | 35 |  |  | 44 | 43 | 37 | 43
41 | Trees - Bubblers | 28:20 | 28:40 | C-B76 |  |  |  | D-B41 | D-B42 | D-B44 |  | E-B122 |  |  |  | F-B102 | F-B133 | F-B87 | F-B88 | F-B90 | [5 empty] | G-B101 | G-B137 | G-B99 | G-B115 |  |  |  | J-B66 |  |  |  | K-B79 |  |  |  | H-B58 | H-B59 | H-B101 | H-B137 |  |  |  |  | 27
|  |  |  | 66 |  |  |  | 30 | 15 | 47 |  | 26 |  |  |  | 30 | 28 | 28 | 28 | 30 | [5 empty] | 27 | 19 | 41 | 43 |  |  |  | 14 |  |  |  | 24 |  |  |  | 20 | 17 | 27 | 19
42 | Trees - Bubblers | 28:40 | 29:00 | [8 empty] | E-B126 | E-B95 | E-B94 | E-B96 | [5 empty] | I-B47 |  |  |  |  | G-B120 | G-B100 | G-B117 |  |  |  |  | J-B67 |  |  |  | K-B80 | K-B114 | K-B65 | H-B57 | H-B97 | H-B61 | H-B116 | H-B56 | H-B112 | H-B138 | H-B62 |  | 27
[12 empty] | 29 | 29 | 26 | 27 | [5 empty] | 14 |  |  |  |  | 13 | 37 | 13 |  |  |  |  | 16 |  |  |  | 28 | 54 | 17 | 8 | 25 | 34 | 57 | 26 | 20 | 26 | 36
43 | Trees - Bubblers | 29:00 | 29:20 |  |  |  |  | D-B54 |  |  |  | E-B131 | E-B93 |  |  | F-B106 |  |  |  |  | I-B107 | I-B109 |  |  |  | G-B98 | [6 empty] | J-B46 | J-B50 | J-B51 | J-B53 | K-B64 | K-B72 | K-B78 | [9 empty] | 27
[8 empty] | 25 |  |  |  | 45 | 51 |  |  | 78 |  |  |  |  | 25 | 26 |  |  |  | 30 | [6 empty] | 48 | 23 | 48 | 26 | 15 | 73 | 16
44 | Shrubs & Groundcovers - Drip | 29:20 | 30:20 | [8 empty] | E-D10 | E-D13 | E-D16 | E-D27 | F-D06 |  |  |  |  | I-D18 | I-D42 | [10 empty] | J-D38 | J-D39 | [5 empty] | H-D35 | H-D36 | H-D37 | [6 empty] | 60
[12 empty] | 76.75 | 71.75 | 11.5 | 17 | 17 |  |  |  |  | 83.5 | 79 | [10 empty] | 78.5 | 10 | [5 empty] | 76 | 6.5 | 11.75
45 | Shrubs & Groundcovers - Drip | 30:20 | 31:20 |  |  |  |  | D-D45 | D-D46 |  |  | E-D25 | [8 empty] | I-D20 | I-D21 | I-D23 | I-D24 | I-D41 | [7 empty] | J-D44 | J-D51 |  |  | K-D53 |  |  | H-D48 | [8 empty] | 60
[8 empty] | 22.5 | 26.5 |  |  | 31.25 | [8 empty] | 62.25 | 62.25 | 21.5 | 69.25 | 73.25 | [7 empty] | 28 | 50.25 |  |  | 68.5 |  |  | 23.75
46 | Shrubs & Groundcovers - Drip | 31:20 | 32:20 | C-D52 | [7 empty] | E-D17 |  |  |  | F-D03 | F-D04 |  |  |  | I-D11 | I-D12 | I-D19 | [13 empty] | K-D14 | K-D15 | K-D56 | [9 empty] | 60
|  |  |  | 61.5 | [7 empty] | 60 |  |  |  | 36.5 | 59.25 |  |  |  | 58.75 | 61 | 61.5 | [13 empty] | 32.75 | 58.75 | 49.5
47 | Shrubs & Groundcovers - Drip | 32:20 | 33:20 | [8 empty] | E-D07 | E-D09 |  |  | F-D01 | F-D02 | F-D05 |  |  | I-D22 | I-D29 |  |  |  | G-D30 | [6 empty] | J-D50 |  |  |  | K-D54 | K-D55 |  | H-D34 | [8 empty] | 60
[12 empty] | 58.75 | 37.5 |  |  | 53.75 | 55.75 | 47.75 |  |  | 56 | 39 |  |  |  | 6 | [6 empty] | 52.25 |  |  |  | 51.25 | 50 |  | 37
48 | Shrubs & Groundcovers - Drip | 33:20 | 34:20 | [8 empty] | E-D26 |  |  |  | F-D08 |  |  |  |  | I-D43 |  |  |  |  | G-D28 | G-D84 | G-D31 | G-D58 | G-D32 | G-D33 | G-D57 | J-D49 | J-D40 | [5 empty] | H-D47 | [8 empty] | 60
[12 empty] | 47.75 |  |  |  | 41 |  |  |  |  | 46.5 |  |  |  |  | 63.25 | 36 | 64.5 | 13.5 | 21.5 | 7 | 61.75 | 42.5 | 45 | [5 empty] | 48.75
TOTAL RUNTIME (minutes) / TOTAL WATER DEMAND (gallons)
TOTAL RUNTIME (hours) / TOTAL WATER DEMAND (m³)
Notes:
1. | Shifts 1 to 37 are all sprays for small turf lawns and shall run for (23) minutes each shift per day.
2. | Shifts 38 to 43 are all bublers for trees & palms and shall run for (27) minutes each shift daily.
3. | Shift 44 to 48 are all drip for shrubs and groundcovers and shall run for (60) minutes each shift daily.
4. | The system will run for a total of (21) hours & (53) minute.
5. | Total daily water demand (TWD) is approximately (2770.698) cubic meter.